## Frame and Hardware Information
NUMBER | FIRE RATING | LABEL | FRAME TYPE | FRAME MAT | WIDTH | COMMENTS | HARDWARE GROUP | MANUFACTURER | DESCRIPTION | CATALOG NUMBER | NOTES | FINISH | QUANTITY
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | SA | Rim Exit Device, Classroom | 12 LC 8813 ETL | Shelter (Rated) | US32D | 1
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | RO | Wall Stop | 409 | Shelter (Rated) | US32D | 1
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | BE | Mortise Cylinder | 1E-74 x Correct Cam | Shelter (Rated) | 626 | 1
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Shelter (Rated) | US32D | 1
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | PE | Gasketing | S88D (Head & Jambs) | Shelter (Rated) |  | 1
001A |  |  | EXIST. | Existing | 3'-0" | 1 | 6 | SA | Door Closer | TB 281 P10 | Shelter (Rated) | EN | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | BE | Rim Cylinder | 1.2e-71 | Exterior | 626 | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior |  | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | SA | Rim Exit Device, Storeroom | LC 16 8804 PSB | Exterior | US32D | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | BE | Mortise Cylinder | 1E-74 x Correct Cam | Exterior | 626 | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior | US32D | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | PE | Gasketing | S773D (Head, Jambs & Sill) | Exterior |  | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | RO | Door Stop | 462 | Exterior | USC | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | SA | Door Closer | TB 281 CPS | Exterior | EN | 1
001B |  |  | 1 | HM | 3'-0" | 2, 7 ALTERNATE #7 | 1 | PE | Sweep | 345ANB x Door Width | Exterior |  | 1
002 |  |  | EXIST. | Existing | 3'-0" | 1 | 29 | BE | Cylindrical Lock (passage) | 9K30N 15D S3 | Break Room | 626 | 1
002 |  |  | EXIST. | Existing | 3'-0" | 1 | 29 | RO | Silencer | 608 | Break Room |  | 3
002 |  |  | EXIST. | Existing | 3'-0" | 1 | 29 | RO | Wall Stop | 409 | Break Room | US32D | 1
003 |  |  | EXIST. | Existing | 3'-0" | 1 | 8 | BE | Hospital Privacy Lock | 9K30LL 15D S3 | Restroom | 626 | 1
003 |  |  | EXIST. | Existing | 3'-0" | 1 | 8 | RO | Silencer | 608 | Restroom |  | 3
003 |  |  | EXIST. | Existing | 3'-0" | 1 | 8 | RO | Wall Stop | 409 | Restroom | US32D | 1
004 |  |  | EXIST. | Existing | 3'-0" | 1, 3 | 9 | HS | Electric Strike | 1500C | Restroom, Existing Door Operator will be Reused | 630 | 1
004 |  |  | EXIST. | Existing | 3'-0" | 1, 3 | 9 | RO | Wall Stop | 409 | Restroom, Existing Door Operator will be Reused | US32D | 1
004 |  |  | EXIST. | Existing | 3'-0" | 1, 3 | 9 | HS | SMART Pac Bridge Rectifier | 2005M3 | Restroom, Existing Door Operator will be Reused |  | 1
004 |  |  | EXIST. | Existing | 3'-0" | 1, 3 | 9 | BE | Hospital Privacy Lock | 9K30LL 15D S3 | Restroom, Existing Door Operator will be Reused | 626 | 1
004 |  |  | EXIST. | Existing | 3'-0" | 1, 3 | 9 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Restroom, Existing Door Operator will be Reused | US32D | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | BE | Rim Cylinder | 1.2e-71 | Exterior | 626 | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior |  | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | SA | Rim Exit Device, Storeroom | LC 16 8804 PSB | Exterior | US32D | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | BE | Mortise Cylinder | 1E-74 x Correct Cam | Exterior | 626 | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior | US32D | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | PE | Gasketing | S773D (Head, Jambs & Sill) | Exterior |  | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | RO | Door Stop | 462 | Exterior | USC | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | SA | Door Closer | TB 281 CPS | Exterior | EN | 1
005 |  |  | 1 | HM | 4'-0" | ALTERNATE #7 | 1 | PE | Sweep | 345ANB x Door Width | Exterior |  | 1
006 |  |  | EXIST. | Existing | 3'-0" | 1 | 30 | RO | Wall Stop | 409 | IT | US32D | 1
006 |  |  | EXIST. | Existing | 3'-0" | 1 | 30 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | IT | 626 | 1
006 |  |  | EXIST. | Existing | 3'-0" | 1 | 30 | RO | Silencer | 608 | IT |  | 3
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Mechanical (Rated) | 626 | 1
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | SA | Door Closer | TB 281 O | Mechanical (Rated) | EN | 1
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | PE | Gasketing | S88D (Head & Jambs) | Mechanical (Rated) |  | 1
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Mechanical (Rated) | US26D | 3
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Mechanical (Rated) | US32D | 1
008 |  |  | EXIST. | Existing | 4'-0" | 1 | 10 | RO | Wall Stop | 409 | Mechanical (Rated) | US32D | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | RO | Door Stop | 462 | Exterior, Existing door operator will be reused | US2C | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | BE | Rim Cylinder | 12E-72 | Exterior, Existing door operator will be reused | 626 | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior, Existing door operator will be reused |  | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | PE | Sweep | 345ANB x Door Width | Exterior, Existing door operator will be reused |  | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | SA | Rim Exit Device, Storeroom | LC 16 8804 PSB | Exterior, Existing door operator will be reused | US32D | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | PE | Rain Guard | 346C x Overall Frame Width | Exterior, Existing door operator will be reused |  | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | BE | Mortise Cylinder | 1E-74 x Correct Cam | Exterior, Existing door operator will be reused | 626 | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | PE | Gasketing | S773D (Head, Jambs & Sill) | Exterior, Existing door operator will be reused |  | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior, Existing door operator will be reused |  | 1
102 |  |  | 3 | HM | 3'-6" | 2, 3 ALTERNATE #7 | 2 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior, Existing door operator will be reused | US32D | 1
103 |  |  | EXIST. | Existing | 5'-4" | 1, 9 | 11 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Closet | 626 | 1
103 |  |  | EXIST. | Existing | 5'-4" | 1, 9 | 11 | RF | Surf Overhead Stop | 9 Series | Closet | 652 | 2
103 |  |  | EXIST. | Existing | 5'-4" | 1, 9 | 11 | RO | Silencer | 608 | Closet |  | 2
103 |  |  | EXIST. | Existing | 5'-4" | 1, 9 | 11 | RO | Dust Proof Strike | 570 | Closet | US26D | 1
103 |  |  | EXIST. | Existing | 5'-4" | 1, 9 | 11 | RO | Flush Bolt | 555-12 | Closet | US26D | 2
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | RO | Silencer | 608 | Medication |  | 3
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Medication | 626 | 1
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | SA | Door Closer | TB 281 O | Medication | EN | 1
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Medication | US26D | 3
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | RO | Wall Stop | 409 | Medication | US32D | 1
105 |  |  | 1 | HM | 3'-0" | 6 | 12 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Medication | US32D | 1
106 |  |  | 4 | HM | 3'-0" |  | 13 | BE | Cylindrical Lock (office) | 9K37AB 15D S3 | Staff | 626 | 1
106 |  |  | 4 | HM | 3'-0" |  | 13 | RO | Door Stop | 441H or 409 as required | Staff | US26D | 1
106 |  |  | 4 | HM | 3'-0" |  | 13 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Staff | US26D | 3
106 |  |  | 4 | HM | 3'-0" |  | 13 | RO | Silencer | 608 | Staff |  | 3
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Corridor (Rated) | US26D | 3
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Corridor (Rated) | US32D | 1
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | PE | Gasketing | S88D (Head & Jambs) | Corridor (Rated) |  | 1
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | RF | Electomagnetic Holder | 998M | Corridor (Rated) | 689 | 1
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | SA | Door Closer | TB 281 P10 | Corridor (Rated) | EN | 1
109A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | BE | Cylindrical Lock (passage) | 9K30N 15D S3 | Corridor (Rated) | 626 | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Sweep | 345ANB x Door Width | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | RO | Door Stop | 462 | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | SA | Door Closer | TB 281 CPS | Exterior | US2C | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Gasketing | S773D (Head & Jambs) | Exterior |  | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior | EN | 1
109B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Exterior | US32D | 1
110A |  |  | 1 | HM | 3'-0" | 6 | 15 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Kitchen | US26D | 3
110A |  |  | 1 | HM | 3'-0" | 6 | 15 | RO | Silencer | 608 | Kitchen |  | 3
110A |  |  | 1 | HM | 3'-0" | 6 | 15 | RO | Wall Stop | 409 | Kitchen | US32D | 1
110A |  |  | 1 | HM | 3'-0" | 6 | 15 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Kitchen | 626 | 1
110B |  |  | 1 | HM | 3'-0" |  | 16 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Kitchen | 626 | 1
110B |  |  | 1 | HM | 3'-0" |  | 16 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Kitchen | US26D | 3
110B |  |  | 1 | HM | 3'-0" |  | 16 | RO | Silencer | 608 | Kitchen |  | 3
110B |  |  | 1 | HM | 3'-0" |  | 16 | RF | Surf Overhead Stop | 9 Series | Kitchen | 652 | 1
111 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
111 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
111 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
111 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
111 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
112 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
112 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
112 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
112 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
112 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
113 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
113 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
113 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
113 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
113 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
114 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
114 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
114 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
114 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
114 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
115 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
115 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
115 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
115 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
115 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
116 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
116 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
116 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
116 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
116 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
117 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
117 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
117 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
117 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
117 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
118 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
118 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
118 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
118 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
118 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
119 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
119 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
119 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
119 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
119 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
120 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
120 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
120 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
120 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
120 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | RF | Electomagnetic Holder | 998M | Office (Rated) | 689 | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Office (Rated) | US32D | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | PE | Gasketing | S88D (Head & Jambs) | Office (Rated) |  | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | SA | Door Closer | TB 281 O | Office (Rated) | EN | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | BE | Cylindrical Lock (office) | 9K37AB 15D S3 | Office (Rated) | 626 | 1
121 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 19 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Office (Rated) | US26D | 3
122 |  |  | 1 | HM | 3'-0" | 2 | 20 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Restroom | 626 | 1
122 |  |  | 1 | HM | 3'-0" | 2 | 20 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Restroom | US26D | 3
122 |  |  | 1 | HM | 3'-0" | 2 | 20 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Restroom | US32D | 1
122 |  |  | 1 | HM | 3'-0" | 2 | 20 | RO | Silencer | 608 | Restroom |  | 3
122 |  |  | 1 | HM | 3'-0" | 2 | 20 | RF | Surf Overhead Stop | 9 Series | Restroom | 652 | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | PE | Gasketing | S88D (Head & Jambs) | Laudry (Rated) |  | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | SA | Surface Closer | 2469 | Laudry (Rated) | EN | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | RF | Surf Overhead Stop | 9ADJ Series | Laudry (Rated) | 652 | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Laudry (Rated) | US32D | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Laudry (Rated) | 626 | 1
123 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5, HOLD OPEN IS PART OF CLOSER | 21 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Laudry (Rated) | US26D | 3
124 |  |  | EXIST. | Existing | 2'-8" | 1 | 22 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Soiled, Linen | 626 | 1
124 |  |  | EXIST. | Existing | 2'-8" | 1 | 22 | SA | Door Closer | TB 281 CPS | Soiled, Linen | EN | 1
124 |  |  | EXIST. | Existing | 2'-8" | 1 | 22 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Soiled, Linen | US32D | 1
124 |  |  | EXIST. | Existing | 2'-8" | 1 | 22 | RO | Silencer | 608 | Soiled, Linen |  | 3
125 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 23 | PE | Gasketing | S88D (Head & Jambs) | Janitor (Rated) |  | 1
125 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 23 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Janitor (Rated) | US26D | 3
125 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 23 | SA | Door Closer | TB 281 CPS | Janitor (Rated) | EN | 1
125 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 23 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Janitor (Rated) | 626 | 1
125 | 45 MIN | S | 1 | HM | 3'-0" | 2, 5 | 23 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Janitor (Rated) | US32D | 1
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Hall (Rated) | 626 | 1
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | SA | Door Closer | TB 281 O | Hall (Rated) | EN | 1
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | RF | Electomagnetic Holder | 998M | Hall (Rated) | 689 | 1
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | PE | Gasketing | S88D (Head & Jambs) | Hall (Rated) |  | 1
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Hall (Rated) | US26D | 3
126A | 45 MIN | S | 1 | HM | 3'-6" | 2, 5 | 24 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Hall (Rated) | US32D | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | SA | Door Closer | TB 281 CPS | Exterior | US32D | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | PE | Sweep | 345ANB x Door Width | Exterior | 626 | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior | US2C | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | RO | Door Stop | 462 | Exterior |  | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | BE | Cylindrical Lock (office) | 9K37AB 15D S3 | Exterior | EN | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior | 626 | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
126B |  |  | 1 | HM | 3'-6" | 2 ALTERNATE #7 | 4 | PE | Gasketing | S773D (Head & Jambs) | Exterior |  | 1
127 |  |  | EXIST. | Existing | 3'-0" | 1 | 22 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Soiled, Linen | 626 | 1
127 |  |  | EXIST. | Existing | 3'-0" | 1 | 22 | SA | Door Closer | TB 281 CPS | Soiled, Linen | EN | 1
127 |  |  | EXIST. | Existing | 3'-0" | 1 | 22 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Soiled, Linen | US32D | 1
127 |  |  | EXIST. | Existing | 3'-0" | 1 | 22 | RO | Silencer | 608 | Soiled, Linen |  | 3
128 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
128 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
128 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
128 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
128 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
129 |  | S | EXIST. | Existing | 3'-0" | 8 | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
129 |  | S | EXIST. | Existing | 3'-0" | 8 | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
129 |  | S | EXIST. | Existing | 3'-0" | 8 | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
129 |  | S | EXIST. | Existing | 3'-0" | 8 | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
129 |  | S | EXIST. | Existing | 3'-0" | 8 | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
130 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
130 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
130 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
130 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
130 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
131 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
131 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
131 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
131 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
131 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
132 |  | S | 1 | HM | 3'-4" |  | 18 | BE | Cylindrical Lock (privacy) | 9K30L 15D S3 | Shower, Therapy (Smoke) | 626 | 1
132 |  | S | 1 | HM | 3'-4" |  | 18 | SA | Door Closer | TB 281 O | Shower, Therapy (Smoke) | EN | 1
132 |  | S | 1 | HM | 3'-4" |  | 18 | PE | Gasketing | S88D (Head & Jambs) | Shower, Therapy (Smoke) |  | 1
132 |  | S | 1 | HM | 3'-4" |  | 18 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Shower, Therapy (Smoke) | US26D | 3
132 |  | S | 1 | HM | 3'-4" |  | 18 | RO | Wall Stop | 409 | Shower, Therapy (Smoke) | US32D | 1
133 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
133 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
133 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
133 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
133 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
134 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
134 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
134 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
134 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
134 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
135 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
135 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
135 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
135 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
135 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
136 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
136 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
136 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
136 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
136 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
137 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
137 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
137 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
137 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
137 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
138 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
138 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
138 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
138 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
138 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
139 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
139 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
139 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
139 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
139 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
140 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
140 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
140 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
140 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
140 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
141 |  | S | 1 | HM | 3'-4" |  | 17 | SA | Door Closer | TB 281 O | Bedroom (Smoke) | EN | 1
141 |  | S | 1 | HM | 3'-4" |  | 17 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Bedroom (Smoke) | US26D | 3
141 |  | S | 1 | HM | 3'-4" |  | 17 | BE | Communicating Lock | 9K37S 15D S3 | Bedroom (Smoke) | 626 | 1
141 |  | S | 1 | HM | 3'-4" |  | 17 | PE | Gasketing | S88D (Head & Jambs) | Bedroom (Smoke) |  | 1
141 |  | S | 1 | HM | 3'-4" |  | 17 | RO | Door Stop | A441H or 409 as required | Bedroom (Smoke) | US26D | 1
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | MK | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | Corridor (Rated) | US26D | 3
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Corridor (Rated) | US32D | 1
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | PE | Gasketing | S88D (Head & Jambs) | Corridor (Rated) |  | 1
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | RF | Electomagnetic Holder | 998M | Corridor (Rated) | 689 | 1
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | SA | Door Closer | TB 281 P10 | Corridor (Rated) | EN | 1
142A | 20 MIN | S | 1 | HM | 3'-6" | 2, 5 | 14 | BE | Cylindrical Lock (passage) | 9K30N 15D S3 | Corridor (Rated) | 626 | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Sweep | 345ANB x Door Width | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | RO | Door Stop | 462 | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | SA | Door Closer | TB 281 CPS | Exterior | US2C | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Gasketing | S773D (Head & Jambs) | Exterior |  | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior | EN | 1
142B |  |  | 2 | HM | 3'-0" | 2 ALTERNATE #7 | 5 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Exterior | US32D | 1
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | BE | Cylindrical Lock (storeroom) | 9K37D 15D S3 | Stairs (Rated) | 626 | 1
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | SA | Door Closer | TB 281 O | Stairs (Rated) | EN | 1
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | PE | Gasketing | S88D (Head & Jambs) | Stairs (Rated) |  | 1
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | MK | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | Stairs (Rated) | US26D | 3
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Stairs (Rated) | US32D | 1
143 | 60 MIN | S | 1 | HM | 3'-0" |  | 26 | RO | Wall Stop | 409 | Stairs (Rated) | US32D | 1
144 |  |  | EXIST. | Existing | 6'-0" | 1 | 27 | RO | Flush Bolt | 555-12 | Closet | US26D | 2
144 |  |  | EXIST. | Existing | 6'-0" | 1 | 27 | RO | Silencer | 608 | Closet |  | 2
144 |  |  | EXIST. | Existing | 6'-0" | 1 | 27 | RO | Dust Proof Strike | 570 | Closet | US16D | 1
144 |  |  | EXIST. | Existing | 6'-0" | 1 | 27 | BE | Cylindrical Lock (classroom) | 9K37R 15D S3 | Closet | 626 | 1
144 |  |  | EXIST. | Existing | 6'-0" | 1 | 27 | RF | Surf Overhead Stop | 9 Series | Closet | 652 | 2
145 |  |  | EXIST. | Existing | 3'-0" | 1 | 28 | BE | Clylindrical Lock (storeroom) | 9K37D 15D S3 |  | 626 | 1
145 |  |  | EXIST. | Existing | 3'-0" | 1 | 28 | RO | Silencer | 608 |  |  | 3
145 |  |  | EXIST. | Existing | 3'-0" | 1 | 28 | RF | Surf Overhead Stop | 9 Series |  | 652 | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | PE | Rain Guard | 346C x Overall Frame Width | Exterior |  | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | PE | Coninuous Hinge | CFMHD1 x Door Height | Exterior | US32D | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | PE | Threshold | 279x292AFGPK x Opening Width | Exterior |  | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | PE | Sweep | 345ANB x Door Width | Exterior |  | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | SA | Rim Exit Device, Storeroom | LC 16 8804 PSB | Exterior | 626 | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | BE | Rim Cylinder | 12E-72 | Exterior | 689 | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | RO | Kick Plate | K1050 10" x 2" LDW CSK BEV | Exterior | US2C | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | PE | Gasketing | S773D (Head & Jambs) | Exterior |  | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | NO | Automatic Opener | 6021 | Exterior | US32D | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | RO | Door Stop | 462 | Exterior |  | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | BE | Mortise Cylinder | 1E-74 x Correct Cam | Exterior | 626 | 1
146 |  |  | 1 | HM | 3'-0" |  | 3 | NO | Door Switch | 505 | Exterior |  | 2
EX |  |  | EXIST. | Existing | 2'-8"
EX |  |  | -- | Existing | 3'-0"