## Hardware Schedule
HARDWARE GROUP | QUANTITY | TYPE | DESCRIPTION | CATALOG NUMBER | FINISH | MANUFACTURER | Notes
1 | 1 | EA | Rim Cylinder | 1.2e-71 | 626 | BE | Exterior
1 | 1 | EA | Coninuous Hinge | CFMHD1 x Door Height |  | PE | Exterior
1 | 1 | EA | Threshold | 279x292AFGPK x Opening Width |  | PE | Exterior
1 | 1 | EA | Rim Exit Device, Storeroom | LC 16 8804 PSB | US32D | SA | Exterior
1 | 1 | EA | Rain Guard | 346C x Overall Frame Width |  | PE | Exterior
1 | 1 | EA | Mortise Cylinder | 1E-74 x Correct Cam | 626 | BE | Exterior
1 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Exterior
1 | 1 | EA | Gasketing | S773D (Head, Jambs & Sill) |  | PE | Exterior
1 | 1 | EA | Door Stop | 462 | USC | RO | Exterior
1 | 1 | EA | Door Closer | TB 281 CPS | EN | SA | Exterior
1 | 1 | EA | Sweep | 345ANB x Door Width |  | PE | Exterior
2 | 1 | EA | Door Stop | 462 | US2C | RO | Exterior, Existing door operator will be reused
2 | 1 | EA | Rim Cylinder | 12E-72 | 626 | BE | Exterior, Existing door operator will be reused
2 | 1 | EA | Threshold | 279x292AFGPK x Opening Width |  | PE | Exterior, Existing door operator will be reused
2 | 1 | EA | Sweep | 345ANB x Door Width |  | PE | Exterior, Existing door operator will be reused
2 | 1 | EA | Rim Exit Device, Storeroom | LC 16 8804 PSB | US32D | SA | Exterior, Existing door operator will be reused
2 | 1 | EA | Rain Guard | 346C x Overall Frame Width |  | PE | Exterior, Existing door operator will be reused
2 | 1 | EA | Mortise Cylinder | 1E-74 x Correct Cam | 626 | BE | Exterior, Existing door operator will be reused
2 | 1 | EA | Gasketing | S773D (Head, Jambs & Sill) |  | PE | Exterior, Existing door operator will be reused
2 | 1 | EA | Coninuous Hinge | CFMHD1 x Door Height |  | PE | Exterior, Existing door operator will be reused
2 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Exterior, Existing door operator will be reused
3 | 1 | EA | Rain Guard | 346C x Overall Frame Width |  | PE | Exterior
3 | 1 | EA | Coninuous Hinge | CFMHD1 x Door Height | US32D | PE | Exterior
3 | 1 | EA | Threshold | 279x292AFGPK x Opening Width |  | PE | Exterior
3 | 1 | EA | Sweep | 345ANB x Door Width |  | PE | Exterior
3 | 1 | EA | Rim Exit Device, Storeroom | LC 16 8804 PSB | 626 | SA | Exterior
3 | 1 | EA | Rim Cylinder | 12E-72 | 689 | BE | Exterior
3 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US2C | RO | Exterior
3 | 1 | EA | Gasketing | S773D (Head & Jambs) |  | PE | Exterior
3 | 1 | EA | Automatic Opener | 6021 | US32D | NO | Exterior
3 | 1 | EA | Door Stop | 462 |  | RO | Exterior
3 | 1 | EA | Mortise Cylinder | 1E-74 x Correct Cam | 626 | BE | Exterior
3 | 2 | EA | Door Switch | 505 |  | NO | Exterior
4 | 1 | EA | Door Closer | TB 281 CPS | US32D | SA | Exterior
4 | 1 | EA | Sweep | 345ANB x Door Width | 626 | PE | Exterior
4 | 1 | EA | Rain Guard | 346C x Overall Frame Width |  | PE | Exterior
4 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US2C | RO | Exterior
4 | 1 | EA | Door Stop | 462 |  | RO | Exterior
4 | 1 | EA | Cylindrical Lock (office) | 9K37AB 15D S3 | EN | BE | Exterior
4 | 1 | EA | Coninuous Hinge | CFMHD1 x Door Height | 626 | PE | Exterior
4 | 1 | EA | Threshold | 279x292AFGPK x Opening Width |  | PE | Exterior
4 | 1 | EA | Gasketing | S773D (Head & Jambs) |  | PE | Exterior
5 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV |  | RO | Exterior
5 | 1 | EA | Threshold | 279x292AFGPK x Opening Width |  | PE | Exterior
5 | 1 | EA | Sweep | 345ANB x Door Width |  | PE | Exterior
5 | 1 | EA | Rain Guard | 346C x Overall Frame Width |  | PE | Exterior
5 | 1 | EA | Door Stop | 462 |  | RO | Exterior
5 | 1 | EA | Door Closer | TB 281 CPS | US2C | SA | Exterior
5 | 1 | EA | Gasketing | S773D (Head & Jambs) |  | PE | Exterior
5 | 1 | EA | Coninuous Hinge | CFMHD1 x Door Height | EN | PE | Exterior
5 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | US32D | BE | Exterior
6 | 1 | EA | Rim Exit Device, Classroom | 12 LC 8813 ETL | US32D | SA | Shelter (Rated)
6 | 1 | EA | Wall Stop | 409 | US32D | RO | Shelter (Rated)
6 | 1 | EA | Mortise Cylinder | 1E-74 x Correct Cam | 626 | BE | Shelter (Rated)
6 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Shelter (Rated)
6 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Shelter (Rated)
6 | 1 | EA | Door Closer | TB 281 P10 | EN | SA | Shelter (Rated)
7 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | IT
7 | 3 | EA | Silencer | 608 |  | RO | IT
7 | 1 | EA | Wall Stop | 409 | US32D | RO | IT
7 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | IT
8 | 1 | EA | Hospital Privacy Lock | 9K30LL 15D S3 | 626 | BE | Restroom
8 | 3 | EA | Silencer | 608 |  | RO | Restroom
8 | 1 | EA | Wall Stop | 409 | US32D | RO | Restroom
9 | 1 | EA | Electric Strike | 1500C | 630 | HS | Restroom, Existing Door Operator will be Reused
9 | 1 | EA | Wall Stop | 409 | US32D | RO | Restroom, Existing Door Operator will be Reused
9 | 1 | EA | SMART Pac Bridge Rectifier | 2005M3 |  | HS | Restroom, Existing Door Operator will be Reused
9 | 1 | EA | Hospital Privacy Lock | 9K30LL 15D S3 | 626 | BE | Restroom, Existing Door Operator will be Reused
9 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Restroom, Existing Door Operator will be Reused
10 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | Mechanical (Rated)
10 | 1 | EA | Door Closer | TB 281 O | EN | SA | Mechanical (Rated)
10 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Mechanical (Rated)
10 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Mechanical (Rated)
10 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Mechanical (Rated)
10 | 1 | EA | Wall Stop | 409 | US32D | RO | Mechanical (Rated)
11 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Closet
11 | 2 | EA | Surf Overhead Stop | 9 Series | 652 | RF | Closet
11 | 2 | EA | Silencer | 608 |  | RO | Closet
11 | 1 | EA | Dust Proof Strike | 570 | US26D | RO | Closet
11 | 2 | EA | Flush Bolt | 555-12 | US26D | RO | Closet
12 | 3 | EA | Silencer | 608 |  | RO | Medication
12 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | Medication
12 | 1 | EA | Door Closer | TB 281 O | EN | SA | Medication
12 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Medication
12 | 1 | EA | Wall Stop | 409 | US32D | RO | Medication
12 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Medication
13 | 1 | EA | Cylindrical Lock (office) | 9K37AB 15D S3 | 626 | BE | Staff
13 | 1 | EA | Door Stop | 441H or 409 as required | US26D | RO | Staff
13 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Staff
13 | 3 | EA | Silencer | 608 |  | RO | Staff
14 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Corridor (Rated)
14 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Corridor (Rated)
14 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Corridor (Rated)
14 | 1 | EA | Electomagnetic Holder | 998M | 689 | RF | Corridor (Rated)
14 | 1 | EA | Door Closer | TB 281 P10 | EN | SA | Corridor (Rated)
14 | 1 | EA | Cylindrical Lock (passage) | 9K30N 15D S3 | 626 | BE | Corridor (Rated)
15 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Kitchen
15 | 3 | EA | Silencer | 608 |  | RO | Kitchen
15 | 1 | EA | Wall Stop | 409 | US32D | RO | Kitchen
15 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Kitchen
16 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Kitchen
16 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Kitchen
16 | 3 | EA | Silencer | 608 |  | RO | Kitchen
16 | 1 | EA | Surf Overhead Stop | 9 Series | 652 | RF | Kitchen
17 | 1 | EA | Door Closer | TB 281 O | EN | SA | Bedroom (Smoke)
17 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Bedroom (Smoke)
17 | 1 | EA | Communicating Lock | 9K37S 15D S3 | 626 | BE | Bedroom (Smoke)
17 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Bedroom (Smoke)
17 | 1 | EA | Door Stop | A441H or 409 as required | US26D | RO | Bedroom (Smoke)
18 | 1 | EA | Cylindrical Lock (privacy) | 9K30L 15D S3 | 626 | BE | Shower, Therapy (Smoke)
18 | 1 | EA | Door Closer | TB 281 O | EN | SA | Shower, Therapy (Smoke)
18 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Shower, Therapy (Smoke)
18 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Shower, Therapy (Smoke)
18 | 1 | EA | Wall Stop | 409 | US32D | RO | Shower, Therapy (Smoke)
19 | 1 | EA | Electomagnetic Holder | 998M | 689 | RF | Office (Rated)
19 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Office (Rated)
19 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Office (Rated)
19 | 1 | EA | Door Closer | TB 281 O | EN | SA | Office (Rated)
19 | 1 | EA | Cylindrical Lock (office) | 9K37AB 15D S3 | 626 | BE | Office (Rated)
19 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Office (Rated)
20 | 1 | EA | Cylindrical Lock (privacy) | 9K30L 15D S3 | 626 | BE | Restroom
20 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Restroom
20 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Restroom
20 | 3 | EA | Silencer | 608 |  | RO | Restroom
20 | 1 | EA | Surf Overhead Stop | 9 Series | 652 | RF | Restroom
21 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Laudry (Rated)
21 | 1 | EA | Surface Closer | 2469 | EN | SA | Laudry (Rated)
21 | 1 | EA | Surf Overhead Stop | 9ADJ Series | 652 | RF | Laudry (Rated)
21 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Laudry (Rated)
21 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Laudry (Rated)
21 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Laudry (Rated)
22 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | Soiled, Linen
22 | 1 | EA | Door Closer | TB 281 CPS | EN | SA | Soiled, Linen
22 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Soiled, Linen
22 | 3 | EA | Silencer | 608 |  | RO | Soiled, Linen
23 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Janitor (Rated)
23 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Janitor (Rated)
23 | 1 | EA | Door Closer | TB 281 CPS | EN | SA | Janitor (Rated)
23 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | Janitor (Rated)
23 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Janitor (Rated)
24 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Hall (Rated)
24 | 1 | EA | Door Closer | TB 281 O | EN | SA | Hall (Rated)
24 | 1 | EA | Electomagnetic Holder | 998M | 689 | RF | Hall (Rated)
24 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Hall (Rated)
24 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Hall (Rated)
24 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Hall (Rated)
25 | 3 | EA | Hinge, Full Mortise | T4A4786 or T4A3786 5" x 4-1/2" | US26D | MK | Office
25 | 1 | EA | Wall Stop | 409 | US32D | RO | Office
25 | 1 | EA | Cylindrical Lock (office) | 9K37AB 15D S3 | 626 | BE | Office
25 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Office
26 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | Stairs (Rated)
26 | 1 | EA | Door Closer | TB 281 O | EN | SA | Stairs (Rated)
26 | 1 | EA | Gasketing | S88D (Head & Jambs) |  | PE | Stairs (Rated)
26 | 3 | EA | Hinge, Full Mortise | TA2714 4-1/2" x 4-1/2" | US26D | MK | Stairs (Rated)
26 | 1 | EA | Kick Plate | K1050 10" x 2" LDW CSK BEV | US32D | RO | Stairs (Rated)
26 | 1 | EA | Wall Stop | 409 | US32D | RO | Stairs (Rated)
27 | 2 | EA | Flush Bolt | 555-12 | US26D | RO | Closet
27 | 2 | EA | Silencer | 608 |  | RO | Closet
27 | 1 | EA | Dust Proof Strike | 570 | US16D | RO | Closet
27 | 1 | EA | Cylindrical Lock (classroom) | 9K37R 15D S3 | 626 | BE | Closet
27 | 2 | EA | Surf Overhead Stop | 9 Series | 652 | RF | Closet
28 | 1 | EA | Clylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE
28 | 3 | EA | Silencer | 608 |  | RO
28 | 1 | EA | Surf Overhead Stop | 9 Series | 652 | RF
29 | 1 | EA | Cylindrical Lock (passage) | 9K30N 15D S3 | 626 | BE | Break Room
29 | 3 | EA | Silencer | 608 |  | RO | Break Room
29 | 1 | EA | Wall Stop | 409 | US32D | RO | Break Room
30 | 1 | EA | Wall Stop | 409 | US32D | RO | IT
30 | 1 | EA | Cylindrical Lock (storeroom) | 9K37D 15D S3 | 626 | BE | IT
30 | 3 | EA | Silencer | 608 |  | RO | IT