## Asset Inventory
Asset Name | Asset Type | Asset ID | Make | Model | Version | Software/Firmware | IP Address | Mac Address | Open Ports | Protocols | Asset Owner | Configuration
PLC01 | Hardware | PLC01 | Siemens | S7-1200 | CPU 1211C | NA | 192.168.1.10 |  |  | TCP/IP | ABC | Standalone
Flow Meter | Hardware | FLT01 | Yokogawa | Vortex Flowmeter | YEWFLO | [5 empty] | ABC | Standalone
Digital Valve Positioner | Hardware | FLV01 | Yokogawa | ND9000F | 2328 | 03/01 |  |  |  |  | ABC | Standalone
HMI | Hardware | HMI01 | Dell | OptiPlex | GX745 |  | 192.168.1.20 |  |  | TCP/IP | ABC | Standalone
Windows XP | Software | SFW01 | Microsoft | Windows XP | Professional | Windows XP Professional | NA |  |  |  | ABC | Standalone
WinCC | Software | SFW02 | Siemens | WinCC Basic | V11 | WinCC Basic V11 | NA |  |  |  | ABC | Standalone

## Data Store
Impact |  | Tolerable Risk |  | 5
Trivial | 1 | RISK | CRRF | SL-T
Minor | 2 | 1 | 0.2 | 0
Moderate | 3 | 2 | 0.4 | 0
Major | 4 | 3 | 0.6 | 0 | Unmitiagted Risk/Tolerable Risk
Critical | 5 | 4 | 0.8 | 0
|  | 5 | 1 | 0
Likelihood |  | 6 | 1.2 | 1
Improbable | 1 | 7 | 1.4 | 1
Rare | 2 | 8 | 1.6 | 1
Unlikely | 3 | 9 | 1.8 | 1
Possible | 4 | 10 | 2 | 1
Likely | 5 | 11 | 2.2 | 2
|  | 12 | 2.4 | 2
|  | 13 | 2.6 | 2
|  | 14 | 2.8 | 2
|  | 15 | 3 | 2
|  | 16 | 3.2 | 3
|  | 17 | 3.4 | 3
|  | 18 | 3.6 | 3
|  | 19 | 3.8 | 3
|  | 20 | 4 | 3
|  | 21 | 4.2 | 4
|  | 22 | 4.4 | 4
|  | 23 | 4.6 | 4
|  | 24 | 4.8 | 4
|  | 25 | 5 | 4

## Matrix
Likelihood
[5 empty] | Chance | Chance | Virtually improbable and unrealistic | Conceivably possible, but very unlikely to occur | Unusual but possible | Quite possible or not unusual | Likely to occur
[5 empty] | Frequency | Frequency | Event could occur at some time greater than 100 years | Event could occur at some time within 10 to 100 years | Has occurred or is expected to occur within 5 to 10 years | Has occurred or is expected to occur within 1 to 5 years | Event expected to occur more than once per year
| Safety | Environment | Financial | Reputation |  |  | Improbable | Rare | Unlikely | Possible | Likely
[7 empty] | 1 | 2 | 3 | 4 | 5
| Medical Treatment, Minor Health Effects, First Aid Case, or Less | No off site impact | Potential equipment or asset damage or financial loss < $100K USD | No harm or slight client concern | Trivial | 1 | 1 | 2 | 3 | 4 | 5
Impact | Medical Treatment with Restricted Duty or Medium Health Effects | One odor or noise complaint from event | Potential equipment or asset damage or financial loss $100K to $ 1M | Minor harm to the Company's public reputation; or client concern | Minor | 2 | 2 | 4 | 6 | 8 | 10
| Serious illness or injury resulting in days away from work [LTI]; or a permanent partial Disability | On-site or off-site environmental release to soil/ground or multiple odor or noise complaints from event | Potential equipment or asset damage or financial loss $1M to $10M | Harm to the Company's reputation limited to the local area via local public media reports or local industry news; significant client concern | Moderate | 3 | 3 | 6 | 9 | 12 | 15
| Illness or injury resulting in one fatality; or permanent full disability | On-site or off-site environmental release to surface water | Potential equipment or asset damage or financial loss $10M to $100M | Harm to the Company's reputation extends to the region through regional or national public media outlets or national industry or financial news; multiple significant client concerns | Major | 4 | 4 | 8 | 12 | 16 | 20
| Illness or injury resulting in multiple (2+) fatalities. | Major off-site impact (vapor cloud explosion, fire, major toxic gas release, major off-site environmental release, wildllife kill) | Potential equipment or asset damage or financial loss >$100M | Harm to the Company's reputation extends internationally through public media outlets or negative publicity in international industry or financial news; global client concerns | Critical | 5 | 5 | 10 | 15 | 20 | 25

## RA
Zone | Asset | Threat Action | Vulnerabilities | Consequence | S | E | F | R | Max | UTL | Risk | SL-T | Countermeasures | MTL | Risk | Recommendations | ATL | Risk
| PLC1 | Unauthorised Access | Physical Secuity not sufficient | Change PLC logic, Damage The PLC Phycally, Connect to network and inastall a malware . Increase/decrease of Tank pressure. Brust of the tank. | Minor | Moderate | Major | Moderate | 4 | Likely | 20 | 3 | Physial Secuirty to Control Rooms, Locak to PLC Cabinet | Possible | 16 | Armed Guards, CCTV Cameras, | Improbable | 4
| HMI | Installing a Malware | Insecure Remote Access | Change of PLC logic, Process halt, systems unavailability. | Trivial | Minor | Major | Moderate | 4 | Possible | 16 | 3 | The remote access is coming through firewall | Unlikely | 12 | Install secure remote application, contineous monitoring of HMI | Improbable | 4
[11 empty] | #N/A | #N/A |  |  | #N/A |  |  | #N/A