## Configuration
Configuration
PEL Transfer, Version 2.8.15973
Instrument ID
PEL model | PEL103
PEL serial number | 176761WEH
PEL name | PEL103-176761WEH
PEL location | Office
Firmware DSP version | 1.28
Firmware microprocessor version | 1.20
Hardware version | D.D
Measurement configuration and status
Aggregation period | 10 min
Electrical hook-up | 3-phase 4-wire Y
Nominal frequency | Auto
Primary nominal voltage | - - -
Secondary nominal voltage | - - -
Current sensor I1 | MA193/MA194/A193/A196
Current sensor I2 | MA193/MA194/A193/A196
Current sensor I3 | MA193/MA194/A193/A196
Line flexible sensor range | 2,000 A
Line flexible sensor wraps | 1

## Summary
Timestamp | V1 (10 min) | V2 (10 min) | V3 (10 min) | U12 (10 min) | U23 (10 min) | U31 (10 min) | I1 (10 min) | I2 (10 min) | I3 (10 min) | IN (10 min) | F (Hz) (10 min) | PF | P1 (10 min) | P2 (10 min) | P3 (10 min) | PT (10 min) | Q1 (10 min) | Q2 (10 min) | Q3 (10 min) | QT (10 min) | S1 (10 min) | S2 (10 min) | S3 (10 min) | ST (10 min) | PF1- (10 min) | PF2- (10 min) | PF3- (10 min) | PFT- (10 min) | PF1+ (10 min) | PF2+ (10 min) | PF3+ (10 min) | PFT+ (10 min) | Cos φ1- (10 min) | Cos φ2- (10 min) | Cos φ3- (10 min) | Cos φT- (10 min) | Cos φ1+ (10 min) | Cos φ2+ (10 min) | Cos φ3+ (10 min) | Cos φT+ (10 min) | Tan Φ- (10 min) | Tan Φ+ (10 min) | V1ᴛʜᴅ (10 min) | V2ᴛʜᴅ (10 min) | V3ᴛʜᴅ (10 min) | U12ᴛʜᴅ (10 min) | U23ᴛʜᴅ (10 min) | U31ᴛʜᴅ (10 min) | I1ᴛʜᴅ (10 min) | I2ᴛʜᴅ (10 min) | I3ᴛʜᴅ (10 min) | INᴛʜᴅ (10 min)
| V | V | V | V | V | V | A | A | A | A | Hz |  | W | W | W | W | var | var | var | var | VA | VA | VA | VA | [18 empty] | % | % | % | % | % | % | % | % | % | %
2026-08-19 15:55 | 243.09 | 243.2 | 239.99 | 419.74 | 417.09 | 421.01 | 2.207 | 0 | 2.2876 | 0 | 49.98 | 0.95 | 509.6746 | 0 | 521.5511 | 1031.2257 | 165.9149 | 0 | 171.4219 | 337.3368 | 536 | 0 | 549 | 1086 | # # # | # # # | -0.702 | 0.269 | 0.174 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.182 | # # # | # # # | 0.182 | 3.148 | # # # | 1.26 | 1.39 | 1.34 | 1.1 | 1.1 | 1.05 | 31.16 | # # # | 30.1 | # # #
2026-08-19 16:05 | 243.38 | 243.6 | 240.03 | 420.27 | 417.37 | 421.47 | 2.1971 | 0 | 2.2871 | 0 | 50.04 | 0.95 | 507.9937 | 0 | 521.524 | 1029.5177 | 167.8315 | 0 | 171.5043 | 339.3358 | 535 | 0 | 549 | 1084 | # # # | # # # | -0.701 | 0.273 | 0.166 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.169 | # # # | # # # | 0.169 | 3.099 | # # # | 1.35 | 1.36 | 1.36 | 1.12 | 1.09 | 1.09 | 31.99 | # # # | 29.57 | # # #
2026-08-19 16:15 | 243 | 243.5 | 239.78 | 419.8 | 417.05 | 421 | 2.2127 | 0 | 2.2847 | 0 | 49.97 | 0.95 | 510.8018 | 0 | 520.4341 | 1031.2359 | 168.895 | 0 | 171.6169 | 340.5119 | 538 | 0 | 548 | 1086 | # # # | # # # | -0.7 | 0.272 | 0.165 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.151 | # # # | # # # | 0.151 | 3.126 | # # # | 1.37 | 1.39 | 1.37 | 1.15 | 1.07 | 1.11 | 32 | # # # | 29.62 | # # #
2026-08-19 16:25 | 243.39 | 243.67 | 240.34 | 420.4 | 417.75 | 421.65 | 1.524 | 0 | 1.5718 | 0 | 50 | 0.67 | 248.5207 | 0 | 0 | 248.5207 | 52.4736 | 0 | 258 | 310.4736 | 254 | 0 | 258 | 512 | # # # | # # # | -0.86 | 0.27 | 0.612 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.607 | # # # | # # # | 0.607 | 1.477 | # # # | 1.37 | 1.34 | 1.34 | 1.14 | 1.05 | 1.09 | 14.61 | # # # | 14.53 | # # #
2026-08-19 16:35 | 242.32 | 243.46 | 239.61 | 419.13 | 416.84 | 420.33 | 0.0009 | 0 | 0 | 0 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.79 | 1.68 | 1.51 | 1.62 | 1.38 | 1.32 | 0 | # # # | # # # | # # #
2026-08-19 16:45 | 240.47 | 242.32 | 238.47 | 416.57 | 414.74 | 417.83 | 0.0009 | 0 | 0 | 0 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.57 | 1.56 | 1.39 | 1.35 | 1.33 | 1.18 | 0 | # # # | # # # | # # #
2026-08-19 16:55 | 239.76 | 242.05 | 238.2 | 415.75 | 414.1 | 417.1 | 0.0009 | 0 | 0 | 0 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.73 | 1.6 | 1.59 | 1.45 | 1.41 | 1.4 | 0 | # # # | # # # | # # #
2026-08-19 17:05 | 240.42 | 242.5 | 238.88 | 416.89 | 415.15 | 418.04 | 0.0009 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.66 | 1.54 | 1.43 | 1.4 | 1.34 | 1.28 | 0 | # # # | # # # | # # #
2026-08-19 17:15 | 241.64 | 243.41 | 239.72 | 418.62 | 416.91 | 419.69 | 0.0009 | 0 | 0 | 0 | 50.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.51 | 1.47 | 1.33 | 1.26 | 1.24 | 1.14 | 0 | # # # | # # # | # # #
2026-08-19 17:25 | 241.25 | 243.48 | 239.75 | 418.31 | 416.97 | 419.44 | 0.0009 | 0 | 0 | 0 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.69 | 1.49 | 1.56 | 1.41 | 1.34 | 1.35 | 0 | # # # | # # # | # # #
2026-08-19 17:35 | 241.7 | 243.8 | 239.9 | 418.84 | 417.52 | 419.95 | 0.0009 | 0 | 0 | 0 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.76 | 1.65 | 1.4 | 1.62 | 1.39 | 1.25 | 0 | # # # | # # # | # # #
2026-08-19 17:45 | 242.74 | 244.29 | 240.59 | 420.11 | 418.61 | 421.44 | 0.0009 | 0 | 0 | 0 | 49.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.55 | 1.45 | 1.38 | 1.29 | 1.21 | 1.23 | 0 | # # # | # # # | # # #
2026-08-19 17:55 | 243.94 | 245.13 | 241.41 | 421.87 | 420.24 | 423 | 0.0009 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.44 | 1.29 | 1.31 | 1.19 | 1.06 | 1.13 | 0 | # # # | # # # | # # #
2026-08-19 18:05 | 244.25 | 245.32 | 241.61 | 422.26 | 420.58 | 423.5 | 0.0009 | 0 | 0 | 0 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.45 | 1.26 | 1.34 | 1.17 | 1.07 | 1.17 | 0 | # # # | # # # | # # #
2026-08-19 18:15 | 244.78 | 245.85 | 242.03 | 423.03 | 421.5 | 424.36 | 0.0009 | 0 | 0 | 0 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.28 | 1.22 | 1.23 | 1 | 0.95 | 0.99 | 0 | # # # | # # # | # # #
2026-08-19 18:25 | 244.96 | 245.92 | 242.22 | 423.29 | 421.65 | 424.7 | 0.0009 | 0 | 0 | 0 | 50.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.25 | 1.17 | 1.18 | 0.97 | 0.92 | 0.94 | 0 | # # # | # # # | # # #
2026-08-19 18:35 | 244.49 | 245.45 | 241.82 | 422.5 | 420.93 | 423.93 | 0.0009 | 0 | 0 | 0 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.16 | 1.12 | 1.16 | 0.89 | 0.84 | 0.85 | 0 | # # # | # # # | # # #
2026-08-19 18:45 | 244.14 | 244.94 | 241.42 | 421.72 | 420.18 | 423.25 | 0.0009 | 0 | 0 | 0 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.23 | 1.19 | 1.23 | 0.96 | 0.88 | 0.89 | 0 | # # # | # # # | # # #
2026-08-19 18:55 | 243.91 | 244.82 | 241.13 | 421.21 | 419.89 | 422.94 | 0.0009 | 0 | 0 | 0 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.12 | 1.23 | 1.08 | 0.91 | 0.82 | 0.81 | 0 | # # # | # # # | # # #
2026-08-19 19:05 | 243.75 | 245.12 | 240.56 | 420.88 | 419.72 | 422.66 | 0.0009 | 0 | 0 | 0 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.18 | 1.35 | 1.11 | 0.97 | 0.86 | 0.83 | 0 | # # # | # # # | # # #
2026-08-19 19:15 | 242.16 | 244.72 | 238.9 | 418.66 | 417.81 | 420.43 | 0.0009 | 0 | 0 | 0 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.58 | 1.55 | 1.36 | 1.37 | 1.16 | 1.17 | 0 | # # # | # # # | # # #
2026-08-19 19:25 | 242.06 | 244.97 | 239.27 | 418.87 | 418.36 | 420.59 | 2.0188 | 0.1201 | 2.0742 | 0 | 50.04 | 0.74 | 361.6163 | 21.7715 | 367.2574 | 750.6452 | 264.4572 | 399.4071 | 268.6019 | 932.4662 | 448 | 400 | 455 | 903 | -0.994 | -0.999 | -0.759 | 0.283 | 0.295 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.293 | # # # | # # # | 0.293 | 2.505 | # # # | 1.71 | 1.69 | 1.52 | 1.44 | 1.36 | 1.29 | 25.01 | 0.1 | 24.63 | # # #
2026-08-19 19:35 | 239.8 | 243.17 | 238.04 | 415.7 | 415.49 | 417.44 | 33.6853 | 32.9317 | 36.7466 | 1.3289 | 50.05 | 0.9 | 7269.9614 | 7207.2013 | 7872.4446 | 22349.6074 | 1359.5869 | 758.4575 | 1494.2507 | 3612.2951 | 7396 | 7247 | 8013 | 22656 | -0.944 | -0.961 | -0.907 | 0.936 | 0.854 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.856 | # # # | # # # | 0.856 | 0.82 | # # # | 2.46 | 2.55 | 2.1 | 2.31 | 2.05 | 2.03 | 31.31 | 26.28 | 28.88 | 220.07
2026-08-19 19:45 | 241.03 | 243.93 | 238.83 | 417.48 | 416.95 | 419.05 | 18.6102 | 18.1861 | 20.3551 | 0.735 | 50.04 | 0 | 0 | 0 | 0 | 0 | 2619 | 2223 | 2819 | 7661 | 2619 | 2223 | 2819 | 7662 | -0.982 | -0.985 | -0.772 | 0.868 | 0.369 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.37 | # # # | # # # | 0.37 | 2.319 | # # # | 2 | 1.95 | 1.62 | 1.83 | 1.6 | 1.49 | 30.56 | 9 | 29.3 | 62
2026-08-19 19:55 | 241.33 | 244.16 | 239.1 | 417.95 | 417.41 | 419.51 | 2.1459 | 0.0076 | 2.2202 | 0.0006 | 50.04 | 0 | 0 | 0 | 0 | 0 | 518 | 0 | 531 | 1049 | 518 | 0 | 531 | 1049 | # # # | # # # | -0.712 | 0.284 | 0.155 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.164 | # # # | # # # | 0.164 | 2.972 | # # # | 1.76 | 1.76 | 1.48 | 1.52 | 1.46 | 1.29 | 30.42 | 0 | 28.32 | 0
2026-08-19 20:05 | 241.01 | 243.87 | 239.08 | 417.48 | 417.09 | 419.19 | 28.1234 | 27.389 | 30.7198 | 1.1218 | 50.04 | 0.75 | 5083.5155 | 5009.5166 | 5508.3673 | 15601.3994 | 2059.8775 | 1435.0138 | 2212.2354 | 5707.1267 | 5485 | 5211 | 5936 | 16632 | -0.958 | -0.971 | -0.857 | 0.925 | 0.668 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.664 | # # # | # # # | 0.664 | 1.36 | # # # | 1.78 | 1.88 | 1.6 | 1.61 | 1.53 | 1.44 | 30.76 | 19.7 | 29.06 | 161.5
2026-08-19 20:15 | 240.19 | 243.44 | 238.44 | 416.45 | 416.08 | 417.96 | 24.4598 | 23.8874 | 26.7086 | 0.9888 | 50.03 | 0.65 | 3818.7496 | 3779.8466 | 4139.4591 | 11738.0553 | 1939.3918 | 1236.644 | 2076.3043 | 5252.3401 | 4283 | 3977 | 4631 | 12891 | -0.964 | -0.972 | -0.82 | 0.907 | 0.554 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.557 | # # # | # # # | 0.557 | 1.769 | # # # | 1.84 | 1.88 | 1.63 | 1.67 | 1.6 | 1.48 | 31.14 | 15.83 | 29.22 | 129.18
2026-08-19 20:25 | 241.18 | 243.95 | 239.15 | 417.73 | 417.26 | 419.34 | 24.7658 | 24.1289 | 27.0132 | 0.9877 | 50.03 | 0.65 | 3882.4602 | 3826.0594 | 4199.1344 | 11907.6539 | 1964.1039 | 1246.5335 | 2106.7687 | 5317.4061 | 4351 | 4024 | 4698 | 13073 | -0.966 | -0.976 | -0.823 | 0.912 | 0.557 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.562 | # # # | # # # | 0.562 | 1.758 | # # # | 1.66 | 1.71 | 1.46 | 1.44 | 1.4 | 1.31 | 30.71 | 15.15 | 29.43 | 119.38
2026-08-19 20:35 | 240.66 | 243.73 | 238.88 | 417.18 | 416.74 | 418.67 | 27.6021 | 26.9925 | 30.2183 | 1.136 | 50.01 | 0.65 | 4317.7689 | 4276.2733 | 4692.0559 | 13286.0981 | 3179.2948 | 2812.0118 | 3448.4693 | 9439.776 | 5362 | 5118 | 5823 | 16303 | -0.956 | -0.97 | -0.852 | 0.921 | 0.671 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.671 | # # # | # # # | 0.671 | 1.412 | # # # | 2.12 | 2.13 | 1.72 | 2.03 | 1.77 | 1.62 | 32.31 | 20.14 | 29.72 | 167.94
2026-08-19 20:45 | 240.63 | 243.67 | 238.45 | 416.84 | 416.37 | 418.46 | 20.7346 | 20.188 | 22.6213 | 0.8334 | 50 | 0.55 | 2744.1517 | 2705.5655 | 2966.7269 | 8416.4442 | 1584.9897 | 705.3591 | 1685.3116 | 3975.6604 | 3169 | 2796 | 3412 | 9377 | -0.977 | -0.984 | -0.788 | 0.891 | 0.435 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.439 | # # # | # # # | 0.439 | 2.159 | # # # | 1.79 | 1.86 | 1.56 | 1.66 | 1.57 | 1.37 | 30.66 | 10.38 | 28.89 | 85.71
2026-08-19 20:55 | 240.37 | 243.44 | 238.39 | 416.45 | 416.08 | 418.19 | 30.8036 | 30.0329 | 33.6189 | 1.253 | 50.03 | 0.65 | 4812.7699 | 4752.286 | 5209.3662 | 14774.4221 | 4407.4848 | 4172.3799 | 4765.0922 | 13344.9569 | 6526 | 6324 | 7060 | 19911 | -0.947 | -0.963 | -0.887 | 0.93 | 0.787 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.787 | # # # | # # # | 0.787 | 1.002 | # # # | 1.73 | 1.88 | 1.61 | 1.61 | 1.51 | 1.41 | 31.9 | 25.34 | 29.36 | 202.38
2026-08-19 21:05 | 241 | 243.99 | 238.75 | 417.45 | 416.91 | 419.04 | 2.1451 | 0 | 2.2036 | 0.0008 | 50.05 | 0.65 | 336.0299 | 0 | 341.9712 | 678.0011 | 392.9032 | 0 | 399.6645 | 792.5677 | 517 | 0 | 526 | 1043 | # # # | # # # | -0.708 | 0.28 | 0.156 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.141 | # # # | # # # | 0.141 | 3.017 | # # # | 1.85 | 1.93 | 1.52 | 1.76 | 1.66 | 1.35 | 30.13 | # # # | 28.44 | 0
2026-08-19 21:15 | 240.91 | 243.7 | 238.73 | 417.24 | 416.66 | 418.81 | 2.1239 | 0 | 2.1994 | 0.0008 | 50.04 | 0.95 | 486.0853 | 0 | 498.8096 | 984.8949 | 160.8262 | 0 | 163.7497 | 324.5759 | 512 | 0 | 525 | 1037 | # # # | # # # | -0.707 | 0.279 | 0.162 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.17 | # # # | # # # | 0.17 | 3.032 | # # # | 2.05 | 2.17 | 1.69 | 2.04 | 1.88 | 1.51 | 30.33 | # # # | 28.71 | 0
2026-08-19 21:25 | 241.23 | 243.83 | 238.89 | 417.61 | 416.97 | 419.19 | 2.1184 | 0 | 2.198 | 0.0008 | 50.07 | 0.95 | 485.4706 | 0 | 498.8262 | 984.2968 | 159.4972 | 0 | 163.6992 | 323.1963 | 511 | 0 | 525 | 1036 | # # # | # # # | -0.705 | 0.281 | 0.156 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.156 | # # # | # # # | 0.156 | 3.015 | # # # | 2.22 | 2.3 | 1.75 | 2.21 | 2.02 | 1.6 | 31.59 | # # # | 27.98 | 0
2026-08-19 21:35 | 241.04 | 243.86 | 238.82 | 417.48 | 416.86 | 419.02 | 2.1292 | 0 | 2.1976 | 0.0008 | 50.07 | 0.95 | 487.5612 | 0 | 498.5893 | 986.1505 | 159.5401 | 0 | 164.4193 | 323.9594 | 513 | 0 | 525 | 1038 | # # # | # # # | -0.706 | 0.28 | 0.154 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.136 | # # # | # # # | 0.136 | 3.019 | # # # | 2.24 | 2.32 | 1.75 | 2.25 | 2.02 | 1.58 | 31.43 | # # # | 27.83 | 0
2026-08-19 21:45 | 241.55 | 244.19 | 239.2 | 418.2 | 417.5 | 419.79 | 2.1734 | 0 | 2.2319 | 0.0008 | 50.01 | 0.95 | 498.7355 | 0 | 507.177 | 1005.9125 | 163.9752 | 0 | 167.1153 | 331.0905 | 525 | 0 | 534 | 1059 | # # # | # # # | -0.705 | 0.275 | 0.163 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.16 | # # # | # # # | 0.16 | 3.078 | # # # | 2.16 | 2.09 | 1.67 | 2.07 | 1.83 | 1.55 | 30.81 | # # # | 29.84 | 0
2026-08-19 21:55 | 241.25 | 243.98 | 238.99 | 417.77 | 417.13 | 419.35 | 2.1487 | 0 | 2.2246 | 0.0008 | 50 | 0.95 | 492.4552 | 0 | 505.0743 | 997.5295 | 160.6608 | 0 | 167.1046 | 327.7654 | 518 | 0 | 532 | 1050 | # # # | # # # | -0.706 | 0.278 | 0.161 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.172 | # # # | # # # | 0.172 | 3.045 | # # # | 2.09 | 2.09 | 1.66 | 2.01 | 1.8 | 1.5 | 31.84 | # # # | 29.09 | 0
2026-08-19 22:05 | 242 | 244.33 | 239.4 | 418.69 | 417.94 | 420.24 | 2.173 | 0 | 2.2473 | 0.0008 | 49.97 | 0.95 | 499.5727 | 0 | 511.1034 | 1010.6761 | 164.6302 | 0 | 167.98 | 332.6102 | 526 | 0 | 538 | 1064 | # # # | # # # | -0.702 | 0.277 | 0.158 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.15 | # # # | # # # | 0.15 | 3.063 | # # # | 2.31 | 2.34 | 1.85 | 2.32 | 2.08 | 1.67 | 32.42 | # # # | 29.54 | 0
2026-08-19 22:15 | 241.98 | 244.24 | 239.33 | 418.57 | 417.78 | 420.2 | 1.8479 | 0 | 1.9055 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 380 | 0 | 388 | 768 | 380 | 0 | 388 | 768 | # # # | # # # | -0.785 | 0.275 | 0.394 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.381 | # # # | # # # | 0.381 | 2.237 | # # # | 2.28 | 2.35 | 1.83 | 2.28 | 2.08 | 1.64 | 22.91 | # # # | 21.51 | 0
2026-08-19 22:25 | 239.94 | 243.08 | 237.99 | 415.8 | 415.41 | 417.47 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.33 | 2.28 | 1.91 | 2.22 | 2.03 | 1.74 | # # # | # # # | 0 | 0
2026-08-19 22:35 | 240.42 | 243.38 | 238.39 | 416.53 | 416.04 | 418.15 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.35 | 2.34 | 1.91 | 2.3 | 2.09 | 1.74 | # # # | # # # | 0 | 0
2026-08-19 22:45 | 240.89 | 243.61 | 238.63 | 417.11 | 416.49 | 418.74 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.32 | 2.39 | 1.89 | 2.3 | 2.15 | 1.72 | # # # | # # # | 0 | 0
2026-08-19 22:55 | 241.07 | 243.97 | 238.9 | 417.5 | 417.04 | 419.18 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.28 | 2.23 | 1.96 | 2.12 | 2 | 1.76 | # # # | # # # | 0 | 0
2026-08-19 23:05 | 241.61 | 244.25 | 239.24 | 418.27 | 417.6 | 419.88 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.25 | 2.41 | 1.85 | 2.26 | 2.19 | 1.62 | # # # | # # # | 0 | 0
2026-08-19 23:15 | 241.04 | 244.19 | 239.03 | 417.71 | 417.27 | 419.29 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.16 | 2.27 | 1.9 | 2.12 | 1.99 | 1.62 | # # # | # # # | 0 | 0
2026-08-19 23:25 | 242.11 | 244.63 | 239.37 | 418.9 | 418.1 | 420.49 | 0 | 0 | 0.0104 | 0.0008 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.11 | 2.27 | 1.78 | 2.17 | 2.03 | 1.51 | # # # | # # # | 0 | 0
2026-08-19 23:35 | 240.21 | 242.94 | 237.75 | 415.86 | 415.14 | 417.49 | 0 | 0 | 0.0104 | 0.0008 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.15 | 2.2 | 1.74 | 2.05 | 1.92 | 1.6 | # # # | # # # | 0 | 0
2026-08-19 23:45 | 241.29 | 244.27 | 238.97 | 417.93 | 417.32 | 419.49 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.79 | 2.77 | 2.13 | 2.84 | 2.37 | 2 | # # # | # # # | 0 | 0
2026-08-19 23:55 | 244.53 | 246.27 | 241.14 | 422.44 | 421.16 | 424.01 | 0 | 0 | 0.0104 | 0.0008 | 50.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.68 | 2.62 | 1.95 | 2.71 | 2.13 | 1.92 | # # # | # # # | 0 | 0
2026-08-20 00:05 | 244.72 | 246.4 | 241.23 | 422.68 | 421.35 | 424.28 | 0 | 0 | 0.0104 | 0.0008 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.15 | 1.36 | 1.17 | 0.97 | 0.95 | 0.88 | # # # | # # # | 0 | 0
2026-08-20 00:15 | 244.41 | 246.06 | 240.97 | 422.2 | 420.81 | 423.74 | 0 | 0 | 0.0104 | 0.0008 | 49.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.23 | 1.4 | 1.34 | 1.16 | 1.13 | 1.06 | # # # | # # # | 0 | 0
2026-08-20 00:25 | 244.49 | 246.2 | 241.05 | 422.38 | 420.97 | 423.92 | 0 | 0 | 0.0104 | 0.0008 | 49.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.34 | 1.49 | 1.4 | 1.22 | 1.19 | 1.14 | # # # | # # # | 0 | 0
2026-08-20 00:35 | 244.34 | 245.98 | 240.85 | 422.06 | 420.66 | 423.57 | 0 | 0 | 0.0104 | 0.0008 | 49.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.42 | 1.52 | 1.45 | 1.26 | 1.24 | 1.2 | # # # | # # # | 0 | 0
2026-08-20 00:45 | 244.43 | 246.13 | 240.9 | 422.21 | 420.81 | 423.74 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.38 | 1.47 | 1.42 | 1.23 | 1.2 | 1.17 | # # # | # # # | 0 | 0
2026-08-20 00:55 | 244.38 | 246.09 | 240.86 | 422.12 | 420.79 | 423.64 | 0 | 0 | 0.0104 | 0.0008 | 49.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.34 | 1.46 | 1.43 | 1.18 | 1.17 | 1.13 | # # # | # # # | 0 | 0
2026-08-20 01:05 | 243.39 | 245.13 | 240.52 | 420.71 | 419.58 | 422.28 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.67 | 1.71 | 1.63 | 1.52 | 1.45 | 1.44 | # # # | # # # | 0 | 0
2026-08-20 01:15 | 242.96 | 244.95 | 240.45 | 420.22 | 419.35 | 421.82 | 0 | 0 | 0.0104 | 0.0008 | 49.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.05 | 2.08 | 1.88 | 1.91 | 1.74 | 1.76 | # # # | # # # | 0 | 0
2026-08-20 01:25 | 242.17 | 244.67 | 239.76 | 419.32 | 418.38 | 420.65 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.92 | 2.87 | 2.22 | 2.97 | 2.43 | 2.18 | # # # | # # # | 0 | 0
2026-08-20 01:35 | 241.62 | 244.72 | 239.28 | 418.62 | 418.02 | 419.98 | 0 | 0 | 0.0104 | 0.0008 | 49.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.59 | 2.63 | 2.06 | 2.59 | 2.29 | 1.87 | # # # | # # # | 0 | 0
2026-08-20 01:45 | 242.98 | 245.44 | 240.39 | 420.52 | 419.72 | 421.95 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.46 | 2.77 | 2.08 | 2.6 | 2.47 | 1.81 | # # # | # # # | 0 | 0
2026-08-20 01:55 | 242.28 | 245.27 | 240.12 | 419.85 | 419.17 | 421.18 | 0 | 0 | 0.0104 | 0.0008 | 49.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.47 | 2.73 | 2.01 | 2.58 | 2.41 | 1.78 | # # # | # # # | 0 | 0
2026-08-20 02:05 | 242.73 | 245.7 | 240.41 | 420.44 | 419.88 | 421.9 | 0 | 0 | 0.0104 | 0.0008 | 49.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.3 | 2.46 | 1.96 | 2.34 | 2.16 | 1.66 | # # # | # # # | 0 | 0
2026-08-20 02:15 | 242.68 | 245.68 | 240.44 | 420.47 | 419.83 | 421.84 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.52 | 2.83 | 2.08 | 2.67 | 2.51 | 1.79 | # # # | # # # | 0 | 0
2026-08-20 02:25 | 243.1 | 246.04 | 240.83 | 421.11 | 420.52 | 422.54 | 0 | 0 | 0.0104 | 0.0008 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.31 | 2.71 | 2.03 | 2.48 | 2.38 | 1.66 | # # # | # # # | 0 | 0
2026-08-20 02:35 | 242.25 | 245.45 | 240.4 | 420.05 | 419.54 | 421.38 | 0 | 0 | 0.0104 | 0.0008 | 49.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.48 | 2.72 | 2.02 | 2.61 | 2.41 | 1.76 | # # # | # # # | 0 | 0
2026-08-20 02:45 | 243.56 | 246.26 | 241.38 | 421.84 | 421.22 | 423.26 | 0 | 0 | 0.0104 | 0.0008 | 49.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.24 | 2.46 | 1.88 | 2.31 | 2.16 | 1.63 | # # # | # # # | 0 | 0
2026-08-20 02:55 | 243.66 | 246.25 | 241.43 | 421.98 | 421.28 | 423.33 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.16 | 2.39 | 1.8 | 2.21 | 2.1 | 1.55 | # # # | # # # | 0 | 0
2026-08-20 03:05 | 242.62 | 245.85 | 240.78 | 420.69 | 420.21 | 422.03 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.21 | 2.43 | 1.87 | 2.28 | 2.13 | 1.61 | # # # | # # # | 0 | 0
2026-08-20 03:15 | 244.05 | 246.73 | 241.82 | 422.68 | 421.99 | 424.09 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.22 | 2.46 | 1.84 | 2.3 | 2.15 | 1.59 | # # # | # # # | 0 | 0
2026-08-20 03:25 | 243.42 | 246.49 | 241.49 | 421.94 | 421.41 | 423.32 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.29 | 2.32 | 1.85 | 2.24 | 2.02 | 1.67 | # # # | # # # | 0 | 0
2026-08-20 03:35 | 242.81 | 245.35 | 240.48 | 420.38 | 419.69 | 421.81 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.24 | 2.26 | 1.8 | 2.16 | 1.98 | 1.66 | # # # | # # # | 0 | 0
2026-08-20 03:45 | 241.15 | 244.12 | 239.24 | 417.93 | 417.43 | 419.38 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.33 | 2.24 | 1.88 | 2.19 | 1.99 | 1.76 | # # # | # # # | 0 | 0
2026-08-20 03:55 | 240.41 | 243.11 | 238.42 | 416.45 | 415.9 | 417.93 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.23 | 2.12 | 1.79 | 2.02 | 1.86 | 1.71 | # # # | # # # | 0 | 0
2026-08-20 04:05 | 240.27 | 242.63 | 238.31 | 416.12 | 415.44 | 417.47 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.46 | 2.42 | 1.94 | 2.39 | 2.19 | 1.84 | # # # | # # # | 0 | 0
2026-08-20 04:15 | 239.92 | 242.57 | 238.34 | 415.83 | 415.34 | 417.22 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.41 | 2.27 | 1.88 | 2.25 | 2.01 | 1.81 | # # # | # # # | 0 | 0
2026-08-20 04:25 | 240.63 | 242.79 | 238.66 | 416.66 | 415.92 | 417.99 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.39 | 2.47 | 1.9 | 2.38 | 2.21 | 1.76 | # # # | # # # | 0 | 0
2026-08-20 04:35 | 241.32 | 243.43 | 239.04 | 417.64 | 416.88 | 418.98 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.67 | 2.72 | 2.09 | 2.69 | 2.42 | 1.96 | # # # | # # # | 0 | 0
2026-08-20 04:45 | 242.8 | 244 | 240.37 | 419.68 | 418.59 | 421.11 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.3 | 2.22 | 2 | 2.15 | 1.94 | 1.96 | # # # | # # # | 0 | 0
2026-08-20 04:55 | 243.05 | 244.08 | 240.38 | 419.96 | 418.69 | 421.34 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.47 | 1.5 | 1.5 | 1.33 | 1.27 | 1.32 | # # # | # # # | 0 | 0
2026-08-20 05:05 | 243.02 | 244.19 | 240.19 | 419.89 | 418.63 | 421.26 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.46 | 1.54 | 1.47 | 1.31 | 1.25 | 1.3 | # # # | # # # | 0 | 0
2026-08-20 05:15 | 243.07 | 243.67 | 240.8 | 419.98 | 418.7 | 421.37 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.36 | 1.4 | 1.36 | 1.22 | 1.18 | 1.21 | # # # | # # # | 0 | 0
2026-08-20 05:25 | 243.19 | 244.01 | 240.72 | 420.18 | 418.94 | 421.59 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.31 | 1.41 | 1.36 | 1.19 | 1.17 | 1.14 | # # # | # # # | 0 | 0
2026-08-20 05:35 | 243.34 | 244.39 | 240.72 | 420.48 | 419.27 | 421.87 | 0 | 0 | 0.0104 | 0.0008 | 49.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.3 | 1.45 | 1.32 | 1.21 | 1.17 | 1.12 | # # # | # # # | 0 | 0
2026-08-20 05:45 | 243.47 | 244.54 | 240.78 | 420.71 | 419.46 | 422.04 | 0 | 0 | 0.0104 | 0.0008 | 49.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.23 | 1.4 | 1.2 | 1.09 | 1.05 | 1 | # # # | # # # | 0 | 0
2026-08-20 05:55 | 243.53 | 244.48 | 240.74 | 420.71 | 419.4 | 422.03 | 0 | 0 | 0.0104 | 0.0008 | 49.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.35 | 1.42 | 1.37 | 1.21 | 1.21 | 1.16 | # # # | # # # | 0 | 0
2026-08-20 06:05 | 243.68 | 244.5 | 240.92 | 420.9 | 419.56 | 422.28 | 0 | 0 | 0.0104 | 0.0008 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.41 | 1.49 | 1.44 | 1.26 | 1.27 | 1.23 | # # # | # # # | 0 | 0
2026-08-20 06:15 | 244.05 | 244.76 | 241.36 | 421.52 | 420.15 | 422.93 | 0 | 0 | 0.0104 | 0.0008 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.37 | 1.5 | 1.45 | 1.27 | 1.27 | 1.23 | # # # | # # # | 0 | 0
2026-08-20 06:25 | 244.57 | 245.26 | 241.94 | 422.46 | 421.11 | 423.81 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.46 | 1.5 | 1.52 | 1.29 | 1.29 | 1.26 | # # # | # # # | 0 | 0
2026-08-20 06:35 | 244.66 | 245.35 | 242 | 422.63 | 421.26 | 423.92 | 0 | 0 | 0.0104 | 0.0008 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.4 | 1.42 | 1.49 | 1.24 | 1.25 | 1.23 | # # # | # # # | 0 | 0
2026-08-20 06:45 | 244.54 | 245.3 | 241.98 | 422.52 | 421.17 | 423.76 | 0 | 0 | 0.0104 | 0.0008 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.39 | 1.46 | 1.48 | 1.24 | 1.23 | 1.21 | # # # | # # # | 0 | 0
2026-08-20 06:55 | 244.12 | 244.94 | 241.85 | 422.01 | 420.71 | 423.15 | 2.1271 | 0.1178 | 2.1934 | 0.0008 | 50.04 | 0 | 0 | 0 | 0 | 0 | 478 | 1 | 488 | 967 | 478 | 1 | 488 | 967 | -0.997 | -1 | -0.752 | 0.282 | 0.274 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.287 | # # # | # # # | 0.287 | 2.579 | # # # | 1.42 | 1.45 | 1.51 | 1.28 | 1.27 | 1.25 | 26.4 | 0.11 | 25.66 | 0
2026-08-20 07:05 | 243.72 | 244.41 | 241.79 | 421.44 | 420.14 | 422.6 | 4.691 | 3.9646 | 5.0858 | 0.1238 | 50.06 | 0 | 0 | 0 | 0 | 0 | 619 | 77 | 642 | 1338 | 619 | 77 | 642 | 1339 | -0.999 | -0.998 | -0.713 | 0.386 | 0.159 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.164 | # # # | # # # | 0.164 | 2.941 | # # # | 1.46 | 1.49 | 1.52 | 1.32 | 1.32 | 1.31 | 31.44 | 0.16 | 28.99 | 1.27
2026-08-20 07:15 | 242.24 | 243.45 | 241.18 | 419.44 | 418.62 | 420.83 | 50.7821 | 50.0199 | 54.3639 | 1.6397 | 50.04 | 0.95 | 11686.3831 | 11568.4774 | 12455.9111 | 35710.7717 | 3791.3383 | 3739.9591 | 4037.7115 | 11569.0088 | 12286 | 12158 | 13094 | 37538 | -0.922 | -0.978 | -0.936 | 0.926 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.316 | # # # | 1.95 | 2.11 | 1.9 | 1.85 | 1.79 | 1.84 | 34.47 | 35.93 | 32.86 | 247.93
2026-08-20 07:25 | 241.88 | 243.34 | 240.73 | 419 | 418.16 | 420.14 | 27.789 | 27.3034 | 29.6443 | 0.8706 | 50.05 | 0.5 | 3360.8017 | 3322.0047 | 3568.1362 | 10250.9425 | 2073.5509 | 1214.3533 | 2188.8354 | 5476.7395 | 3949 | 3537 | 4186 | 11673 | -0.971 | -0.994 | -0.769 | 0.862 | 0.404 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.41 | # # # | # # # | 0.41 | 2.258 | # # # | 1.72 | 1.81 | 1.59 | 1.61 | 1.48 | 1.5 | 32.04 | 11.48 | 31.54 | 69.74
2026-08-20 07:35 | 241.42 | 242.94 | 240.21 | 418.21 | 417.4 | 419.31 | 2.1411 | 0 | 2.2387 | 0.0007 | 50.04 | 0 | 0 | 0 | 0 | 0 | 517 | 0 | 538 | 1055 | 517 | 0 | 538 | 1055 | # # # | # # # | -0.71 | 0.281 | 0.165 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.176 | # # # | # # # | 0.176 | 2.994 | # # # | 1.72 | 1.7 | 1.54 | 1.57 | 1.43 | 1.43 | 30.02 | # # # | 27.95 | 0
2026-08-20 07:45 | 242.04 | 243.13 | 240.62 | 418.95 | 417.94 | 420.13 | 34.4131 | 33.8244 | 36.8166 | 1.0917 | 50.05 | 0.65 | 5414.0754 | 5345.4221 | 5758.2267 | 16517.7242 | 2324.5326 | 1462.9512 | 2476.0148 | 6263.4986 | 5892 | 5542 | 6268 | 17702 | -0.969 | -0.99 | -0.816 | 0.916 | 0.543 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.537 | # # # | # # # | 0.537 | 1.762 | # # # | 1.74 | 1.78 | 1.59 | 1.59 | 1.5 | 1.53 | 31.42 | 15.37 | 29.4 | 108.97
2026-08-20 07:55 | 239.94 | 241.58 | 239.37 | 415.97 | 415.36 | 417.21 | 47.2224 | 46.5837 | 50.4484 | 1.497 | 50.07 | 0.75 | 8497.907 | 8440.2677 | 9056.8751 | 25995.0498 | 6134.8951 | 5960.937 | 6541.1464 | 18636.9786 | 10481 | 10333 | 11172 | 31986 | -0.928 | -0.983 | -0.895 | 0.917 | 0.869 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.875 | # # # | # # # | 0.875 | 0.734 | # # # | 2.18 | 2.3 | 1.99 | 2.04 | 1.98 | 2.02 | 35.74 | 31.69 | 34.45 | 220.78
2026-08-20 08:05 | 241.17 | 242.01 | 240.28 | 417.63 | 416.66 | 418.7 | 20.3775 | 19.9151 | 21.8022 | 0.6425 | 50.02 | 0.35 | 1720.0546 | 1686.8787 | 1833.5214 | 5240.4547 | 1652.1614 | 927.3971 | 1750.5497 | 4330.1081 | 2385 | 1925 | 2535 | 6844 | -0.989 | -0.999 | -0.749 | 0.854 | 0.3 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.306 | # # # | # # # | 0.306 | 2.544 | # # # | 1.81 | 1.8 | 1.62 | 1.63 | 1.55 | 1.6 | 30.53 | 5.2 | 27.93 | 40.8
2026-08-20 08:15 | 241.17 | 241.93 | 240.48 | 417.55 | 416.69 | 418.95 | 50.7519 | 49.9713 | 54.2721 | 1.6292 | 50.07 | 0.95 | 11627.8439 | 11485.0788 | 12398.7869 | 35511.7096 | 3803.1568 | 3757.1294 | 4061.3167 | 11621.6028 | 12234 | 12084 | 13047 | 37365 | -0.925 | -0.995 | -0.938 | 0.93 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.275 | # # # | 2.24 | 2.31 | 1.97 | 2.11 | 1.96 | 2.06 | 33.78 | 35.22 | 33.05 | 242.27
2026-08-20 08:25 | 242.44 | 242.93 | 240.81 | 419.27 | 417.97 | 420.45 | 19.9286 | 19.4965 | 21.256 | 0.6238 | 50.08 | 0.35 | 1691.0214 | 1657.6997 | 1791.5301 | 5140.2512 | 1515.8785 | 688.5179 | 1601.5083 | 3805.9047 | 2271 | 1795 | 2403 | 6469 | -0.986 | -0.998 | -0.738 | 0.815 | 0.289 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.302 | # # # | # # # | 0.302 | 2.664 | # # # | 1.68 | 1.62 | 1.58 | 1.47 | 1.41 | 1.48 | 32.18 | 6.1 | 30.36 | 37.91
2026-08-20 08:35 | 240.55 | 241.61 | 239.58 | 416.44 | 415.74 | 417.81 | 47.5876 | 46.8185 | 50.8506 | 1.515 | 50.03 | 0.85 | 9730.1176 | 9615.0451 | 10355.3687 | 29700.5315 | 4477.7598 | 4261.2435 | 4774.3845 | 13513.3878 | 10711 | 10517 | 11403 | 32631 | -0.936 | -0.969 | -0.909 | 0.93 | 0.89 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.89 | # # # | # # # | 0.89 | 0.689 | # # # | 3.1 | 3.08 | 2.65 | 2.88 | 2.75 | 2.87 | 32.31 | 29.93 | 30.23 | 234.34
2026-08-20 08:45 | 241.92 | 242.4 | 240.23 | 418.32 | 417.06 | 419.5 | 33.92 | 33.3646 | 36.261 | 1.0879 | 50.06 | 0.65 | 5333.8522 | 5256.9264 | 5662.137 | 16252.9156 | 1981.4442 | 854.986 | 2102.8087 | 4939.2389 | 5690 | 5326 | 6040 | 17056 | -0.961 | -0.996 | -0.803 | 0.893 | 0.53 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.532 | # # # | # # # | 0.532 | 1.867 | # # # | 1.78 | 1.77 | 1.64 | 1.61 | 1.51 | 1.58 | 33.23 | 16.96 | 32.1 | 105.42
2026-08-20 08:55 | 242.45 | 242.54 | 240.66 | 419.07 | 417.61 | 420.14 | 2.1499 | 0.0108 | 2.2432 | 0.0006 | 50.09 | 0 | 0 | 0 | 0 | 0 | 521 | 0 | 540 | 1061 | 521 | 0 | 540 | 1061 | # # # | # # # | -0.71 | 0.279 | 0.168 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.179 | # # # | # # # | 0.179 | 3.022 | # # # | 1.42 | 1.38 | 1.34 | 1.22 | 1.14 | 1.21 | 30.65 | 0 | 28.59 | 0
2026-08-20 09:05 | 241.85 | 242.18 | 240.29 | 418.19 | 416.97 | 419.32 | 2.1434 | 0.0108 | 2.23 | 0.0006 | 50.06 | 0 | 0 | 0 | 0 | 0 | 518 | 0 | 536 | 1054 | 518 | 0 | 536 | 1054 | # # # | # # # | -0.709 | 0.28 | 0.164 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.153 | # # # | # # # | 0.153 | 3.017 | # # # | 1.68 | 1.62 | 1.52 | 1.47 | 1.42 | 1.46 | 30.57 | 0 | 28.12 | 0
2026-08-20 09:15 | 241.2 | 241.73 | 239.63 | 417.17 | 415.99 | 418.28 | 2.1407 | 0.0108 | 2.2181 | 0.0006 | 50.01 | 0 | 0 | 0 | 0 | 0 | 516 | 0 | 531 | 1047 | 516 | 0 | 531 | 1048 | # # # | # # # | -0.71 | 0.277 | 0.169 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.163 | # # # | # # # | 0.163 | 3.046 | # # # | 1.75 | 1.69 | 1.6 | 1.53 | 1.48 | 1.53 | 29.55 | 0 | 28.38 | 0
2026-08-20 09:25 | 241.24 | 241.65 | 239.5 | 417.12 | 415.8 | 418.22 | 2.1282 | 0.0108 | 2.2173 | 0.0006 | 50.02 | 0 | 0 | 0 | 0 | 0 | 513 | 0 | 531 | 1044 | 513 | 0 | 531 | 1044 | # # # | # # # | -0.709 | 0.278 | 0.169 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.18 | # # # | # # # | 0.18 | 3.037 | # # # | 1.27 | 1.27 | 1.23 | 1.05 | 1 | 1.05 | 30.16 | 0 | 28.41 | 0
2026-08-20 09:35 | 240.54 | 241.17 | 238.99 | 416.03 | 414.91 | 417.26 | 31.083 | 30.5334 | 33.2902 | 1.0023 | 50.02 | 0 | 0 | 0 | 0 | 0 | 4841 | 4465 | 5151 | 14457 | 4841 | 4465 | 5151 | 14457 | -0.974 | -0.999 | -0.797 | 0.908 | 0.472 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.467 | # # # | # # # | 0.467 | 1.981 | # # # | 1.59 | 1.62 | 1.5 | 1.41 | 1.36 | 1.41 | 30.57 | 12.33 | 29.26 | 91.53
2026-08-20 09:45 | 239.33 | 240.39 | 238.26 | 414.34 | 413.53 | 415.65 | 49.5209 | 48.7467 | 52.9103 | 1.5552 | 50.05 | 0 | 0 | 0 | 0 | 0 | 11479 | 11318 | 12212 | 35009 | 11479 | 11318 | 12212 | 35009 | -0.924 | -0.992 | -0.918 | 0.923 | 0.945 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.949 | # # # | # # # | 0.949 | 0.474 | # # # | 2.11 | 2.18 | 1.92 | 1.97 | 1.86 | 1.94 | 35.06 | 33.93 | 34.63 | 234.4
2026-08-20 09:55 | 240.7 | 241.42 | 238.98 | 416.32 | 415.17 | 417.41 | 2.0911 | 0.0068 | 2.1831 | 0.0003 | 50.07 | 0 | 0 | 0 | 0 | 0 | 503 | 0 | 522 | 1025 | 503 | 0 | 522 | 1025 | # # # | # # # | -0.711 | 0.281 | 0.166 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.177 | # # # | # # # | 0.177 | 3.001 | # # # | 1.29 | 1.3 | 1.27 | 1.08 | 1.04 | 1.05 | 30 | 0 | 27.91 | 0
2026-08-20 10:05 | 240.51 | 241.18 | 238.74 | 415.95 | 414.75 | 417.07 | 2.0969 | 0.0068 | 2.1874 | 0.0003 | 50.03 | 0 | 0 | 0 | 0 | 0 | 504 | 0 | 522 | 1026 | 504 | 0 | 522 | 1027 | # # # | # # # | -0.712 | 0.283 | 0.16 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.151 | # # # | # # # | 0.151 | 2.969 | # # # | 1.31 | 1.29 | 1.31 | 1.13 | 1.07 | 1.11 | 29.92 | 0 | 27.72 | 0
2026-08-20 10:15 | 240.64 | 241.05 | 238.76 | 415.97 | 414.72 | 417.1 | 2.1112 | 0.0068 | 2.1821 | 0.0003 | 50.04 | 0 | 0 | 0 | 0 | 0 | 508 | 0 | 521 | 1029 | 508 | 0 | 521 | 1029 | # # # | # # # | -0.712 | 0.28 | 0.163 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.15 | # # # | # # # | 0.15 | 3.014 | # # # | 1.35 | 1.33 | 1.32 | 1.14 | 1.1 | 1.13 | 29.21 | 0 | 28.48 | 0
2026-08-20 10:25 | 240.96 | 241.09 | 238.98 | 416.35 | 415.01 | 417.44 | 2.1046 | 0.0068 | 2.1883 | 0.0003 | 50.06 | 0 | 0 | 0 | 0 | 0 | 507 | 0 | 523 | 1030 | 507 | 0 | 523 | 1030 | # # # | # # # | -0.711 | 0.278 | 0.169 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.178 | # # # | # # # | 0.178 | 3.032 | # # # | 1.28 | 1.3 | 1.33 | 1.08 | 1.08 | 1.07 | 29.95 | 0 | 28.72 | 0
2026-08-20 10:35 | 240.66 | 241.41 | 238.81 | 416.12 | 415.01 | 417.38 | 2.0978 | 0.0068 | 2.1942 | 0.0003 | 50.05 | 0 | 0 | 0 | 0 | 0 | 505 | 0 | 524 | 1029 | 505 | 0 | 524 | 1029 | # # # | # # # | -0.709 | 0.28 | 0.165 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.167 | # # # | # # # | 0.167 | 3.01 | # # # | 1.26 | 1.3 | 1.27 | 1.11 | 1.07 | 1.06 | 30.06 | 0 | 28.31 | 0
2026-08-20 10:45 | 241.97 | 242.75 | 240.04 | 418.4 | 417.27 | 419.58 | 2.1689 | 0.0068 | 2.2493 | 0.0003 | 50.02 | 0 | 0 | 0 | 0 | 0 | 525 | 0 | 540 | 1065 | 525 | 0 | 540 | 1065 | # # # | # # # | -0.704 | 0.274 | 0.168 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.154 | # # # | # # # | 0.154 | 3.082 | # # # | 1.36 | 1.32 | 1.32 | 1.15 | 1.07 | 1.12 | 31.22 | 0 | 28.71 | 0
2026-08-20 10:55 | 243.24 | 244.17 | 241.65 | 420.81 | 419.87 | 422.01 | 1.2897 | 0.0068 | 1.337 | 0.0003 | 50.04 | 0 | 0 | 0 | 0 | 0 | 183 | 0 | 188 | 371 | 183 | 0 | 188 | 371 | # # # | # # # | -0.898 | 0.27 | 0.718 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.712 | # # # | # # # | 0.712 | 1.072 | # # # | 1.69 | 1.7 | 1.47 | 1.58 | 1.43 | 1.33 | 10.3 | 0 | 10.51 | 0
2026-08-20 11:05 | 243.3 | 244.37 | 241.85 | 421.03 | 420.22 | 422.25 | 0 | 0.0068 | 0.0241 | 0.0003 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.07 | 2.3 | 1.67 | 2.14 | 1.98 | 1.53 | # # # | 0 | 0 | 0
2026-08-20 11:15 | 242.58 | 244.1 | 241.54 | 420.22 | 419.57 | 421.44 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.19 | 2.28 | 1.74 | 2.21 | 2.02 | 1.65 | # # # | 0 | 0 | 0
2026-08-20 11:25 | 243.84 | 245.23 | 242.2 | 422.01 | 421.22 | 423.28 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 2.02 | 2.11 | 1.64 | 1.94 | 1.86 | 1.55 | # # # | 0 | 0 | 0
2026-08-20 11:35 | 243.5 | 245.45 | 242.08 | 421.8 | 421.2 | 423.09 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.81 | 1.87 | 1.6 | 1.66 | 1.68 | 1.46 | # # # | 0 | 0 | 0
2026-08-20 11:45 | 244.61 | 246.06 | 242.42 | 423.54 | 422.13 | 424.01 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.79 | 1.83 | 1.6 | 1.62 | 1.65 | 1.49 | # # # | 0 | 0 | 0
2026-08-20 11:55 | 246.73 | 247.31 | 243.9 | 426.4 | 424.64 | 427.03 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.64 | 1.55 | 1.52 | 1.42 | 1.34 | 1.42 | # # # | 0 | 0 | 0
2026-08-20 12:05 | 247.04 | 247.28 | 244.34 | 426.51 | 425.03 | 427.76 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.29 | 1.35 | 1.4 | 1.14 | 1.09 | 1.14 | # # # | 0 | 0 | 0
2026-08-20 12:15 | 246.67 | 247.09 | 244.11 | 426.05 | 424.61 | 427.28 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.26 | 1.28 | 1.34 | 1.09 | 1.05 | 1.09 | # # # | 0 | 0 | 0
2026-08-20 12:25 | 246.63 | 247.09 | 244.08 | 426.01 | 424.59 | 427.22 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.27 | 1.32 | 1.38 | 1.1 | 1.06 | 1.09 | # # # | 0 | 0 | 0
2026-08-20 12:35 | 246.98 | 247.15 | 244.25 | 426.41 | 424.82 | 427.59 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.28 | 1.31 | 1.4 | 1.13 | 1.09 | 1.13 | # # # | 0 | 0 | 0
2026-08-20 12:45 | 246.98 | 246.99 | 244.16 | 426.28 | 424.63 | 427.49 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.31 | 1.31 | 1.42 | 1.12 | 1.1 | 1.13 | # # # | 0 | 0 | 0
2026-08-20 12:55 | 246.25 | 246.63 | 243.65 | 425.25 | 423.87 | 426.51 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.27 | 1.33 | 1.42 | 1.12 | 1.1 | 1.13 | # # # | 0 | 0 | 0
2026-08-20 13:05 | 245.25 | 246.27 | 243.07 | 424.01 | 422.9 | 425.32 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.78 | 1.68 | 1.58 | 1.6 | 1.49 | 1.45 | # # # | 0 | 0 | 0
2026-08-20 13:15 | 243.14 | 245.04 | 241.71 | 421.14 | 420.44 | 422.53 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.71 | 1.77 | 1.51 | 1.54 | 1.58 | 1.37 | # # # | 0 | 0 | 0
2026-08-20 13:25 | 244.16 | 245.53 | 242.42 | 422.45 | 421.62 | 423.88 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.55 | 1.65 | 1.43 | 1.34 | 1.44 | 1.28 | # # # | 0 | 0 | 0
2026-08-20 13:35 | 244.92 | 245.71 | 242.66 | 423.26 | 422.12 | 424.62 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.55 | 1.6 | 1.44 | 1.33 | 1.42 | 1.33 | # # # | 0 | 0 | 0
2026-08-20 13:45 | 242.65 | 244.37 | 241.24 | 420.2 | 419.51 | 421.57 | 0 | 0.0068 | 0.0241 | 0.0003 | 50.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 1.71 | 1.63 | 1.54 | 1.4 | 1.47 | 1.45 | # # # | 0 | 0 | 0
2026-08-20 13:55 | 244.1 | 245.13 | 242.14 | 422.06 | 421.19 | 423.42 | 0.8288 | 0.1318 | 0.8598 | 0.0003 | 50.01 | 0 | 0 | 0 | 0 | 0 | 65 | 2 | 67 | 134 | 65 | 2 | 67 | 133 | -0.994 | -0.999 | -0.967 | 0.278 | 0.914 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.918 | # # # | # # # | 0.918 | 0.338 | # # # | 1.66 | 1.61 | 1.53 | 1.35 | 1.42 | 1.43 | 3.54 | 0.34 | 3.22 | 0
2026-08-20 14:05 | 244.8 | 245.43 | 242.48 | 423.03 | 421.77 | 424.21 | 7.8026 | 7.1597 | 8.4367 | 0.287 | 49.97 | 0 | 0 | 0 | 0 | 0 | 828 | 272 | 866 | 1966 | 828 | 272 | 866 | 1966 | -0.997 | -0.999 | -0.709 | 0.54 | 0.188 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.181 | # # # | # # # | 0.181 | 3.027 | # # # | 1.52 | 1.51 | 1.35 | 1.23 | 1.3 | 1.3 | 31.8 | 1.45 | 30.82 | 6.85
2026-08-20 14:15 | 244.13 | 245.02 | 242.06 | 422.1 | 420.99 | 423.3 | 3.7335 | 2.8317 | 3.9548 | 0.1239 | 49.97 | 0 | 0 | 0 | 0 | 0 | 598 | 47 | 617 | 1262 | 598 | 47 | 617 | 1262 | -1 | -0.998 | -0.706 | 0.327 | 0.177 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.188 | # # # | # # # | 0.188 | 3.097 | # # # | 1.51 | 1.5 | 1.33 | 1.23 | 1.29 | 1.24 | 31.87 | 0.66 | 30.15 | 1.96
2026-08-20 14:25 | 244.48 | 245.17 | 242.33 | 422.53 | 421.41 | 423.8 | 2.2748 | 0.0069 | 2.3548 | 0.0003 | 49.97 | 0 | 0 | 0 | 0 | 0 | 556 | 0 | 571 | 1127 | 556 | 0 | 571 | 1127 | # # # | # # # | -0.703 | 0.273 | 0.167 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.159 | # # # | # # # | 0.159 | 3.096 | # # # | 1.39 | 1.44 | 1.31 | 1.14 | 1.22 | 1.19 | 32.4 | 0 | 30.3 | 0
2026-08-20 14:35 | 244.6 | 245.24 | 242.44 | 422.72 | 421.57 | 423.97 | 3.9409 | 3.0716 | 4.2337 | 0.1533 | 49.97 | 0 | 0 | 0 | 0 | 0 | 616 | 57 | 633 | 1306 | 616 | 57 | 633 | 1306 | -0.998 | -1 | -0.704 | 0.331 | 0.179 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.171 | # # # | # # # | 0.171 | 3.127 | # # # | 1.47 | 1.47 | 1.28 | 1.2 | 1.24 | 1.2 | 31.9 | 0.72 | 30.88 | 2.11
2026-08-20 14:45 | 244.63 | 245.31 | 242.46 | 422.76 | 421.66 | 424.05 | 2.2738 | 0.0069 | 2.3603 | 0.0003 | 49.99 | 0 | 0 | 0 | 0 | 0 | 556 | 0 | 572 | 1128 | 556 | 0 | 572 | 1129 | # # # | # # # | -0.701 | 0.268 | 0.175 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.185 | # # # | # # # | 0.185 | 3.151 | # # # | 1.46 | 1.47 | 1.33 | 1.18 | 1.24 | 1.26 | 32.58 | 0 | 30.63 | 0
2026-08-20 14:55 | 241.86 | 243.7 | 240.69 | 419.01 | 418.45 | 420.34 | 5.782 | 5.1732 | 6.3011 | 0.1825 | 49.98 | 0 | 0 | 0 | 0 | 0 | 659 | 131 | 688 | 1478 | 659 | 131 | 688 | 1477 | -0.999 | -0.999 | -0.709 | 0.41 | 0.176 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.167 | # # # | # # # | 0.167 | 3.023 | # # # | 1.58 | 1.56 | 1.44 | 1.3 | 1.3 | 1.36 | 30.06 | 1.35 | 29.63 | 3.12
2026-08-20 15:05 | 241.33 | 243.37 | 240.3 | 418.25 | 417.79 | 419.59 | 5.8298 | 5.138 | 6.1666 | 0.177 | 49.96 | 0 | 0 | 0 | 0 | 0 | 649 | 123 | 675 | 1447 | 649 | 123 | 675 | 1447 | -0.997 | -0.999 | -0.71 | 0.414 | 0.184 | # # # | # # # | # # # | # # # | # # # | # # # | # # # | 0.189 | # # # | # # # | 0.189 | 3.044 | # # # | 1.51 | 1.48 | 1.34 | 1.21 | 1.23 | 1.26 | 30.69 | 0.42 | 28.56 | 2.48
Formulas:
Timestamp = [Timestamp, row above]+10/1440