TAMIL NADU GENERATION AND DISTRIBUTION CORPORATION Ltd.,

Technical Branch

                                                                  …

144, Anna Salai,                                                                                                                                    

                                                                                                       Chennai-2.

Memo.No.CE/Comml/SE/EET/AEE1/F.Instructions/D.No.006/18,dt.08.01.18

Sub:- Electricity –  Collection  of  estimate cost  towards  Provision  of  4th wire 

         arrangement for extending continuous power supply to the LT industries

         connected in HT Rural feeders – Instructions issued - Reg. 
Ref:   1. Memo.No.CE/Comml/EE3/AEE1/F.24 hrs supply/D.689/05, 

             dt.23.12.2005.   

         2. Note approved by CMD dated. 03.01.18.
                                                              ***
Of late it is noticed that different procedures have been followed on collection of estimate cost towards provision of 4th wire arrangement for extending continuous supply to the LT industries connected in HT Rural feeders. Hence to adopt uniform procedure in this regard, the following instructions are hereby issued.

a)  In  case  of  conversion  of  existing  HT  3 wire into 4 wire, the entire cost of 
     fourth  wire  extension  alone  up to the take off pole  prior to the 
     distribution transformer by  providing  cut  point  (if not existing) is to be 
     collected in one lump sum from the consumer. 

b)  The  estimate  cost  of  already existing distribution  transformer need not be 
     collected from the consumer.

c)  Other  loads  except  agricultural  loads  may  be  extended  from   the 
     Distribution Transformer connected in the 4th wire line.

d)  In  case  of  proposing  new  feeder  with  fourth  wire arrangement and new 
     Distribution  transformer,  if  the  Distribution  transformer is  to  be provided  

     either  on  road  side  or  inside  the  consumer premises,  the entire 
     estimate cost  of  new  feeder extension  with  fourth wire arrangement up to 
     the take off  pole  prior  to  the  distribution  transformer by providing cut 
      point (if not existing) excluding cost of transformer structure and 
      Distribution transformer may  be  prepared  on  DCW  basis  and it shall be 
      collected in one lump sum from the applicant. The estimate for transformer 
      structure and Distribution transformer shall be prepared on Board side.
e)  An  undertaking  may  be  obtained  from  the  consumer that ”the Board has 
     every rights to add further loads in the distribution transformer”.
f)   Regarding  extension  of  4th  wire  facility  to  the  group  of  industrial  and 
     commercial  consumers, the  existing  instruction  issued  in  the ref (1) shall 
      be followed.
g)  The  above  instructions  shall  come  into effect from the date of issue of 

      this order.
Receipt of this memo shall be acknowledged.
(BY ORDER OF THE CHAIRMAN CUM MANAGING DIRECTOR)
                                                                            Sd/xxxxxx

CHIEF ENGINEER/COMMERCIAL.
To

All the Chief Engineer/Distribution Regions.

Copy to all the Superintending Engineer/EDC’s for necessary action.
Copy to the Executive Engineer/Chairman’s Office/TANGEDCO, Chennai-2.

Copy to the Executive Assistant to Director/Distribution/TANGEDCO, Chennai-2.

Copy to the Chief Financial Controller/General/ TANGEDCO, Chennai-2.

Copy to the Internal Audit Officer/Chennai-2.

Copy to the Legal Advisor/Legal Cell/Chennai-2.

Copy to the Additional Director General of Police/Vigilance/Chennai-2.

Copy to the APO/Tamil Development for publishing in the TNEB Bulletin.


