## Detailed Estimate
Project Name: |  |  | Pelican Isle Yacht Club |  |  | Address: |  | 410 Dockside Drive, Naples Florida, 34110.
[12 empty] | DATE | 2024-12-29
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | TOTAL LABOR COST | TOTAL COST | TRADE TOTAL
|  | 1000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Project Closeouts | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Submittal and approval | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Mobile Scaffolding | 1 | 5% | 1.05 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [9 empty] | 0
|  | 2000 | DIVISION 02- EXISTING CONDITION
| A2.00 M1.0 E2.1 P1.0 |  | Demolition
8 |  |  | Remove Flooring | 605 | 5% | 635.25 | SF | 1 | 4 | 635.25 | 2541 | 3176.25
9 |  |  | Remove Ceiling | 605 | 5% | 635.25 | SF | 1 | 4 | 635.25 | 2541 | 3176.25
10 |  |  | Remove Wall Finish | 373 | 5% | 391.65 | LF | 2 | 5 | 783.3 | 1958.25 | 2741.55
11 |  |  | Remove Millwork | 29 | 5% | 30.45 | LF | 2 | 5 | 60.9 | 152.25 | 213.15
12 |  |  | Remove Water Closet | 5 | 5% | 5.25 | EA | 50 | 150 | 262.5 | 787.5 | 1050
13 |  |  | Remove Lavatory | 6 | 5% | 6.3 | EA | 50 | 150 | 315 | 945 | 1260
14 |  |  | Removal Urinal | 2 | 5% | 2.1 | EA | 50 | 150 | 105 | 315 | 420
15 |  |  | Remove Grab Bar | 5 | 5% | 5.25 | EA | 10 | 50 | 52.5 | 262.5 | 315
16 |  |  | Remove Door w/ Frame | 2 | 5% | 2.1 | EA | 50 | 150 | 105 | 315 | 420
Plumbing Demolition
17 |  |  | Remove All Plumbing Piping & Fixtures | 553 | 5% | 580.65 | SF | 2 | 5 | 1161.3 | 2903.25 | 4064.55
18 |  |  | Remove Electric Water Heater | 1 | 5% | 1.05 | EA | 100 | 300 | 105 | 315 | 420
19 |  |  | Remove Floor Drain | 2 | 5% | 2.1 | EA | 50 | 150 | 105 | 315 | 420
20 |  |  | Remove Mop Sink & Faucet | 1 | 5% | 1.05 | EA | 50 | 150 | 52.5 | 157.5 | 210
Mechanical Demolition
21 |  |  | Remove Duct | 66 | 5% | 69.3 | LF | 2 | 5 | 138.6 | 346.5 | 485.1
22 |  |  | Remove Exhaust Grille | 8 | 5% | 8.4 | EA | 20 | 80 | 168 | 672 | 840
23 |  |  | Remove Supply Diffuser | 2 | 5% | 2.1 | EA | 20 | 80 | 42 | 168 | 210
Electrical Demolition
24 |  |  | Remove All Lighting Fixtures & Switches | 842 | 5% | 884.1 | SF | 1 | 4 | 884.1 | 3536.4 | 4420.5
|  |  | Subtotal | [9 empty] | 23842.35
|  | 6000 | DIVISION 06- WOOD, PLASTIC & COMPOSITES
| A7.00 |  | Millwork
25 |  |  | (2'-0" W) Vanity Cabinet | 28 | 5% | 29.4 | LF | 50 | 80 | 1470 | 2352 | 3822
Trim
26 |  |  | Door Trim | 269 | 5% | 282.45 | LF | 5 | 12 | 1412.25 | 3389.4 | 4801.65
|  |  | Subtotal | [9 empty] | 8623.65
|  | 8000 | DIVISION 08- OPENINGS
| A7.00 |  | Doors
27 |  |  | (3'-0"x7'-0") Single Wood Door w/ Wood Frame | 2 | 0% | 2 | EA | 350 | 400 | 700 | 800 | 1500
28 |  |  | (2'-6"x7'-0") Single Wood Door w/ Wood Frame | 4 | 0% | 4 | EA | 300 | 400 | 1200 | 1600 | 2800
29 |  |  | (3'-3"x7'-0") Single Wood Door w/ Wood Frame | 2 | 0% | 2 | EA | 400 | 450 | 800 | 900 | 1700
Door Hardware
30 |  |  | Hardware Sets @ Door | 8 | 0% | 8 | EA | 50 | 100 | 400 | 800 | 1200
|  |  | Subtotal | [9 empty] | 7200
|  | 9000 | DIVISION 09- FINISHES
| A2.01 A6.00 |  | Interior Finishes
Floor Finish
31 |  |  | TL-04 (12"x24") Floor Tile Manuf: Dekton Model: Pekta Kode Color: TK06 Marmorio | 347 | 5% | 364.35 | SF | 7 | 10 | 2550.45 | 3643.5 | 6193.95
32 |  |  | TL-07 (12"x24") Floor Tile Manuf: Stp Tile Model: Terrestrial Color: White | 257 | 5% | 269.85 | SF | 5 | 10 | 1349.25 | 2698.5 | 4047.75
Wall Base
33 |  |  | (6" H) Tile Base | 266 | 5% | 279.3 | LF | 3 | 8 | 837.9 | 2234.4 | 3072.3
Wall Finish
34 |  |  | PNT-17 Wall Paint Manuf: Sherwin Williams Model: SW 7006 Color: Pure White | 1466 | 5% | 1539.3 | SF | 1.5 | 2.5 | 2308.95 | 3848.25 | 6157.2
35 |  |  | PNT-18 Wall Paint Manuf: Sherwin Williams Model: SW 7604 Color: Pure White | 91 | 5% | 95.55 | SF | 1.5 | 2.5 | 143.325 | 238.875 | 382.2
36 |  |  | PNT-19 Wall Paint Manuf: Sherwin Williams Model: SW 7613 Color: Aqua-Sphere | 134 | 5% | 140.7 | SF | 1.5 | 2.5 | 211.05 | 351.75 | 562.8
37 |  |  | TL-03 (12"x24") Wall Tile Manuf: STP Tile Model: Castlestone Color: White Muretto | 174 | 5% | 182.7 | SF | 6 | 12 | 1096.2 | 2192.4 | 3288.6
38 |  |  | TL-05 (2"x6") Wall Tile Manuf: Crosville Model: Pottery Color: Natural | 116 | 5% | 121.8 | SF | 5 | 12 | 609 | 1461.6 | 2070.6
39 |  |  | TL-08 (3"x13") Wall Tile Manuf: Emser Model: Amala Color: White | 76 | 5% | 79.8 | SF | 6 | 12 | 478.8 | 957.6 | 1436.4
Ceiling Finish
40 |  |  | (5/8") Painted Gypsum Board Ceiling | 585 | 5% | 614.25 | SF | 1.5 | 2.5 | 921.375 | 1535.625 | 2457
Opening Finishes
41 |  |  | Paint @ Door | 315 | 5% | 330.75 | SF | 1.5 | 2.5 | 496.125 | 826.875 | 1323
42 |  |  | Paint @ Door Trim | 269 | 5% | 282.45 | LF | 1 | 3 | 282.45 | 847.35 | 1129.8
43 |  |  | Paint @ Door Frame | 135 | 5% | 141.75 | LF | 1 | 3 | 141.75 | 425.25 | 567
|  |  | Subtotal | [9 empty] | 32688.6
|  | 10000 | DIVISION 10- SPECIALTIES
44 | A9.10 |  | ACC-16 (42" L) Grab Bar Manuf: Delta Model: 41842-BL Finish: Matte Black | 1 | 0% | 1 | EA | 75 | 100 | 75 | 100 | 175
45 |  |  | ACC-17 (36" L) Grab Bar Manuf: Delta Model: 41836-BL Finish: Matte Black | 1 | 0% | 1 | EA | 70 | 100 | 70 | 100 | 170
46 |  |  | ACC-18 (18" L) Grab Bar Manuf: Delta Model: 41818-BL Finish: Matte Black | 1 | 0% | 1 | EA | 65 | 90 | 65 | 90 | 155
47 |  |  | ACC-19 (42" L) Grab Bar Manuf: Delta Model: 41842-CZ Finish: Champagne Bronze | 1 | 0% | 1 | EA | 85 | 100 | 85 | 100 | 185
48 |  |  | ACC-20 (36" L) Grab Bar Manuf: Delta Model: 41836-CZ Finish: Champagne Bronze | 1 | 0% | 1 | EA | 80 | 100 | 80 | 100 | 180
49 |  |  | ACC-21 (18" L) Grab Bar Manuf: Delta Model: 41818-CZ Finish: Champagne Bronze | 1 | 0% | 1 | EA | 75 | 90 | 75 | 90 | 165
50 |  |  | ACC-22 Men's RR Hooks Manuf: Delta Model: 77638-BL Finish: Matte Black | 1 | 0% | 1 | EA | 25 | 50 | 25 | 50 | 75
51 |  |  | ACC-23 Women's RR Hooks Manuf: Delta Model: 77638-CZ Finish: Champagne Bronze | 1 | 0% | 1 | EA | 30 | 50 | 30 | 50 | 80
52 |  |  | ACC-24 Men's RR Purse Hooks Manuf: Delta Model: 77835-CZ Finish: Matte Black | 1 | 0% | 1 | EA | 25 | 50 | 25 | 50 | 75
53 |  |  | ACC-25 Women's RR Baby Station Manuf: Koala Kare Model: KB300-05 Finish: White Granite | 1 | 0% | 1 | EA | 300 | 150 | 300 | 150 | 450
54 |  |  | ACC-26 Men's Tissue Holder Manuf: Kohler Model: K-78384 Finish: Matte Black | 4 | 0% | 4 | EA | 40 | 60 | 160 | 240 | 400
55 |  |  | ACC-27 Women's Tissue Holder Manuf: Delta Model: 77635 Finish: Champagne Bronze | 3 | 0% | 3 | EA | 50 | 70 | 150 | 210 | 360
56 |  |  | ACC-28 Men's Soap Dispenser Manuf: Hansgrohe Model: 41745670 Finish: Matte Black | 4 | 0% | 4 | EA | 60 | 80 | 240 | 320 | 560
57 |  |  | ACC-29 Women's Soap Dispenser Manuf: Hansgrohe Model: 41745140 Finish: Matte Black | 3 | 0% | 3 | EA | 60 | 80 | 180 | 240 | 420
58 |  |  | ACC-30 Men's Paper Towel Dispenser Manuf: Gorlary Model: Wall Mount Commercial Finish: Black | 2 | 0% | 2 | EA | 120 | 150 | 240 | 300 | 540
59 |  |  | ACC-31 Women's Paper Towel Dispenser Manuf: Gorlary Model: Wall Mount Commercial Finish: Gold | 3 | 0% | 3 | EA | 150 | 150 | 450 | 450 | 900
|  |  | Subtotal | [9 empty] | 4890
|  | 22000 | DIVISION 22- PLUMBING
| P1.0 |  | Domestic Pipe
Cold Water Pipe
60 |  |  | (3/4" Dia) Cold Water Pipe | 6 | 5% | 6.3 | LF | 2.5 | 8 | 15.75 | 50.4 | 66.15
Hot Water Pipe
61 |  |  | (3/4" Dia) Hot Water Pipe | 24 | 5% | 25.2 | LF | 3 | 8 | 75.6 | 201.6 | 277.2
|  |  | (1/2" Dia) Hot Water Pipe | 54 | 5% | 56.7 | LF | 2.5 | 7 | 141.75 | 396.9 | 538.65
Connections
|  |  | (90 D) Bend | 5 | 0% | 5 | EA | 5 | 15 | 25 | 75 | 100
|  |  | Tee | 4 | 0% | 4 | EA | 6 | 15 | 24 | 60 | 84
Plumbing Fixtures
62 |  |  | W1 Floor Mounted ADA Water Closet Manuf: Delta Model: C43801 | 5 | 0% | 5 | EA | 400 | 300 | 2000 | 1500 | 3500
63 |  |  | L1 Undermount ADA Lavatory Manuf: Kohler Model: K-21058 | 4 | 0% | 4 | EA | 300 | 250 | 1200 | 1000 | 2200
64 |  |  | L2 Wall Mounted ADA Lavatory Manuf: Kohler Model: K-77768 | 2 | 0% | 2 | EA | 350 | 300 | 700 | 600 | 1300
65 |  |  | U1 Wall Mounted ADA Urinal Manuf: Kohler Model: K-4991-ET | 1 | 0% | 1 | EA | 500 | 400 | 500 | 400 | 900
66 |  |  | U2 Wall Mounted Urinal Manuf: Kohler Model: K-4991-ET | 1 | 0% | 1 | EA | 450 | 400 | 450 | 400 | 850
67 |  |  | FD-A 2" Floor Drain' Manuf: Kohler Model: K-9135-BV | 1 | 0% | 1 | EA | 250 | 200 | 250 | 200 | 450
68 |  |  | FD-B 2" Floor Drain' Manuf: Kohler Model: K-9135-BL | 1 | 0% | 1 | EA | 250 | 200 | 250 | 200 | 450
|  |  | Subtotal | [9 empty] | 10716
|  | 23000 | DIVISION 23- HEATING, VENTILATING AND AIR CONDITIONING (HVAC)
| M1.0 |  | Upper Level Floor
Ductwork
|  |  | (12"x12") Rectangular Duct | 18 | 5% | 18.9 | LF | 8 | 12 | 151.2 | 226.8 | 378
69 |  |  | (6"x6") Rectangular Duct | 4 | 5% | 4.2 | LF | 6 | 10 | 25.2 | 42 | 67.2
69 |  |  | (4" Dia) Flexible Duct | 70 | 5% | 73.5 | LF | 3 | 6 | 220.5 | 441 | 661.5
Connections
70 |  |  | Volume Damper | 7 | 0% | 7 | EA | 50 | 100 | 350 | 700 | 1050
70 |  |  | (45 D) Elbow | 2 | 0% | 2 | EA | 10 | 40 | 20 | 80 | 100
Fixtures
71 |  |  | A (8" Dia, 48" L) Supply Diffuser Manuf: Nailor Nodel: 5010 CFM: 200 | 2 | 0% | 2 | EA | 75 | 150 | 150 | 300 | 450
71 |  |  | E1 (6" Dia, 24" L) Exhaust Grille Manuf: Nailor Nodel: 5010R CFM: 100 | 6 | 0% | 6 | EA | 60 | 100 | 360 | 600 | 960
72 |  |  | E1 (6" Dia, 24" L) Exhaust Grille Manuf: Nailor Nodel: 5010R CFM: 75 | 1 | 0% | 1 | EA | 60 | 100 | 60 | 100 | 160
|  |  | Subtotal | [9 empty] | 3826.7
|  | 26000 | DIVISION 26- ELECTRICAL
73 | E2.1 E2.2 E4.2 |  | Electrical Wiring & Conduit Allowances | 772 | 5% | 810.6 | SF | 3 | 5 | 2431.8 | 4053 | 6484.8
Lighting
74 |  |  | A2 4' Surface Mounted LED Strip Manuf: Daybritr Model: #LBX-55L-830-UNV-FD Voltage: 120 | 1 | 0% | 1 | EA | 150 | 100 | 150 | 100 | 250
75 |  |  | H 4' Round Recessed Downlight Manuf: Spectrum Lighting Model: #SR4MR-XT20L-DS10-1-120V-RDD4F-30K-WD-MW-SD Voltage: 120 | 34 | 0% | 34 | EA | 120 | 80 | 4080 | 2720 | 6800
76 |  |  | J Wall Sconce Manuf: Arteriors Model: DVA Sconce Voltage: 120 | 8 | 0% | 8 | EA | 200 | 100 | 1600 | 800 | 2400
77 |  |  | K Electric LED Mirror Manuf: Electric Mirror Model: #INT2-66.00X42.00-L7CS-30K Voltage: 120 | 1 | 0% | 1 | EA | 600 | 200 | 600 | 200 | 800
78 |  |  | L LED Backlit Mirror Manuf: Bobrick Model: #B-167 2436 Voltage: 120 | 2 | 0% | 2 | EA | 500 | 150 | 1000 | 300 | 1300
79 |  |  | M LED Linear Wall Wash Manuf: Copper Lighting Model: #S124DRP-S-350D-90-30-GYP-XX-1-U-DD-F-W Voltage: 120 | 7 | 0% | 7 | EA | 400 | 200 | 2800 | 1400 | 4200
80 |  |  | EM Emergency Wall Pack Manuf: Beghelli Model: #PEHI Voltage: 120/277/1 | 8 | 0% | 8 | EA | 300 | 150 | 2400 | 1200 | 3600
81 |  |  | Emergency Exit Light (1 Face) w/ Battery Manuf: Beghelli Model: #PX-G-SA-AT Voltage: 120/277/1 | 7 | 0% | 7 | EA | 250 | 150 | 1750 | 1050 | 2800
Power
82 |  |  | Single Pole Switch | 12 | 0% | 12 | EA | 20 | 50 | 240 | 600 | 840
83 |  |  | Two-Way Switch | 7 | 0% | 7 | EA | 30 | 60 | 210 | 420 | 630
84 |  |  | Dimmer Switch | 2 | 0% | 2 | EA | 60 | 80 | 120 | 160 | 280
85 |  |  | Motion-Sensor Switch | 1 | 0% | 1 | EA | 100 | 100 | 100 | 100 | 200
Power Panel
86 |  |  | Panel 1B Amp: 225 Poles: 72 Phase: 3 Voltage: 120/208 Wires: 4 | 1 | 0% | 1 | EA | 3000 | 1500 | 3000 | 1500 | 4500
|  |  | Subtotal | [9 empty] | 35084.8
|  |  | TOTAL AMOUNT | [9 empty] | 126872.1
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  | 6343.605
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  | 12687.21
|  |  | TAX (8.5%) | [7 empty] | 8.5% |  | 10784.1285
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  | 1903.0815
|  |  | TOTAL BASEBID | [9 empty] | 158590.125

## Summary
GENERAL SUMMARY
Project Name | Pelican Isle Yacht Club
Project Address | 410 Dockside Drive, Naples Florida, 34110.
Date: | 2024-12-29
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirements | 0
2000 | Existing Condition | 23842.35
6000 | Wood, Plastic & Composites | 8623.65
8000 | Openings | 7200
9000 | Finishes | 32688.6
10000 | Specialties | 4890
22000 | Plumbing | 10716
23000 | Heating, Ventilating & Air Conditioning (HVAC) | 3826.7
26000 | Electrical | 35084.8
TOTAL TRADE COST |  | 126872.1
CONTINGENCY | 5% | 6343.605
OVERHEAD & PROFIT | 10% | 12687.21
TAX | 8.5% | 10784.1285
PERFROMANCE & PAYMENT BOND | 1.5% | 1903.0815
TOTAL TRADE COST |  | 158590.125