One-Piece Toilet

CP-2033 (305mm RI)

CP-2034 (400mm RI)

New Codie II (China)

FEATURES

- Types of Flushing: Washdown

- Design:  Modern design with wider size for more comfortable seating

- Trapway: Concealed trapway

- Seat: Comfort Seat and Slow Close

- Water Saving: 3/4.5L water saving

STANDARDS CRITERIA

- TIS-792:2001

- GB 6952-2005

- PNS 156:2010

- MS 1522:2007

- SS 378-1996

- ASME-A112.19.2-2008

SPECIFICATIONS

- Litres Per Flush: 3/4.5 lpf

- P/S-Trap/Bowl Shape: S trap, elongated

- Roughing in: 305mm, 400mm floor discharge

- Overall Dimensions (LxBxH):

L709xW350xH712mm

- Height to Rim: 400mm

- Material: Vitreous China

DIMENSIONAL DRAWING

COLOR AVAILABILITY

- White only(0)

INCLUDED COMPONENTS

- PP Slow Closing Seat           CCASC033-0200430C0

- Angle Valve  and Water Supply Hose CC1-CN511MSA009182

STANDARDS CRITERIA

- China GB 6952-2005

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice; we assume no liability for the use of obsolete dimensions.

STANDARDS CRITERIA

- TIS-792:2001

- GB 6952-2005

- PNS 156:2010

- MS 1522:2007

- SS 378-1996

- ASME-A112.19.2-2008